# Assessment Requirements for DEFSIM013 Manage simulator accreditation or in service testing

Release: 1

Assessment Requirements for DEFSIM013 Manage simulator accreditation or in service testing

# Modification History

Release 1. This is the first release of this unit of competency in the DEF Defence Training Package Release 4.0.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least one occasion and include:

managing the accreditation or in-service testing process defining test and quality requirements and an associated test plan finalising accreditation or in-service testing undertaking research and analysis related to simulator accreditation or in-service testing following configuration management processes identifying, reviewing and analysing information that may impact simulator accreditation or in-service testing negotiating and communicating effectively with key stakeholders.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of:

capabilities and limitations of the relevant simulator standards, legislative and regulatory requirements related to the simulator accreditation or in-service testing organisational policy and procedures related to the relevant simulator accreditation or in-service testing product knowledge related to systems and equipment in service.

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations or simulated workplace operational situations that reflect workplace conditions. Retail or commercial systems whose primary purpose is entertainment do not meet the requirements. Individual domestic use systems whose primary purpose is entertainment do not meet the requirements. Resources for assessment must include access to: a range of relevant exercises, case studies and/or simulations acceptable means of simulation assessment applicable documentation including workplace procedures, regulations, codes of practice and operation manuals relevant materials, tools, equipment and personal protective equipment currently used in industry.

# Links

Companion Volume Implementation Guides are found on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6bdbab1e-11ed-4bc9-9cba-9e1a55d4e4a9