# Assessment Requirements for FBPFST4004 Perform microbiological procedures in the food industry

Release: 1

Assessment Requirements for FBPFST4004 Perform microbiological procedures in the food industry

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with the FBP Food, Beverage and Pharmaceutical Training Package Version 2.0. |

# Performance Evidence

An individual demonstrating competency in this unit must satisfy all of the elements and performance criteria of this unit.

There must be evidence that the individual has safely and effectively performed microbiological procedures in the food industry, including:

safely and effectively performing a minimum of three different multi-step tests to isolate bacteria

safely isolating, identifying and cultivating microorganisms

effectively setting up and using microscope slides and a microscope

recognising the use of the Gram reaction in the identification of common types of bacteria

identifying the need for certified laboratory testing

accurately interpreting the results of tests carried out by a certified laboratory.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

physiological characteristics of animal, plant and microbial cells

microbiological terminology relevant to role

use of protective clothing and biological safety cabinets

aseptic sampling techniques

disinfection and sterilisation as applied to practical aspects of microbiology

microbial diversity and growth

aseptic techniques used to cultivate and isolate microorganisms

microorganisms of significance in the production and spoilage of foods

chemical and physical methods available for controlling microbial growth

methods for sterilisation or control of a given microorganism

the Gram reaction in the identification of common types of bacteria

purpose of the food tests conducted

commonly used rapid test kits and their purpose

rationale for sample dilution when preparing materials for enumerating organisms and other pure culture work

forms of bacterial colonies on common media used in bacteriological investigations in the food industry

impact of temperature conditions and gaseous environments on the growth of a range of common microorganisms

health and safety in the workplace environmental, and quality assurance procedures commonly used in food testing laboratories.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

skills must be demonstrated in a workplace setting or an environment that accurately represents a food testing laboratory

resources, equipment and materials:

personal protective equipment required to perform on-site microbiological procedures in the food industry

common laboratory equipment and a sufficient range of samples to allow microbiological procedures to be demonstrated

specifications:

procedures and templates used to report relevant product and/or process information and recorded results.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume Implementation Guides are found in VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=78b15323-cd38-483e-aad7-1159b570a5c4