# FBPFST5001 Monitor refrigeration and air conditioning systems in food processing

Release: 1

FBPFST5001 Monitor refrigeration and air conditioning systems in food processing

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with the FBP Food, Beverage and Pharmaceutical Training Package Version 2.0. |

# Application

This unit of competency describes the skills and knowledge required to coordinate the monitoring of refrigeration and air conditioning systems in food processing and storage. The individual is required to demonstrate deep knowledge in a specific technical area and to design solutions to sometimes complex problems.

This unit applies to individuals who are responsible for maintaining product safety and quality in food processing, including general food production, meat and seafood industries, and exercise autonomy in undertaking complex work.

No occupational licensing or certification requirements apply to this unit at the time of publication. However, legislative and regulatory requirements for food processing exist, so local requirements must be checked. All work must comply with Australian food safety standards and relevant codes of practice.

# Pre-requisite Unit

Nil

# Unit Sector

Food science and technology (FST)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Coordinate a refrigeration system in the production of food products | 1.1 Identify refrigerants and their required properties 1.2 Monitor performance of the refrigeration system in the production process 1.3 Analyse performance of a refrigeration system 1.4 Identify and evaluate ways to improve the performance of the refrigeration system |
| 2. Coordinate an air conditioning system in the production of food products | 2.1 Identify common forms of air conditioning systems used in the production of food products 2.2 Assess air conditioning requirements for a given situation in the production process 2.3 Identify variables on a psychrometric chart 2.4 Apply psychrometric charts for the analysis of air conditioning systems in the production process 2.5 Monitor the performance of the air conditioning system in the production process 2.6 Rectify issues with performance of air conditioner 2.7 Monitor energy efficiency to reduce costs and environmental impacts 2.8 Report problems to the designated person |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret industry standards Interpret technical manuals for refrigeration and air conditioning systems |
| Numeracy | Maintain and analyse data resulting from testing of refrigeration and air conditioning system Determine calibration procedures and schedule for test equipment |
| Get the work done | Problem-solve issues as they arise |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| FBPFST5001 Monitor refrigeration and air conditioning systems in food processing | FDFFST5001A Monitor refrigeration and air conditioning systems in food processing | Updated to meet Standards for Training Packages Minor changes to Performance Criteria to clarify intent | Equivalent unit |

# Links

Companion Volume Implementation Guides are found in VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=78b15323-cd38-483e-aad7-1159b570a5c4