# Assessment Requirements for FBPGRA4001 Control power and automation for milling processes

Release: 1

Assessment Requirements for FBPGRA4001 Control power and automation for milling processes

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with FBP Food, Beverage and Pharmaceutical Training Package version 1.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that, on at least one occasion, the individual has:

interpreted schematics and identified range of utilities used by mill

determined importance of services to mill operations

identified key features and requirements of installed electrical safety systems

matched milling requirements to available services and equipment, including electricity, gas and other fuels, steam generation, hydraulics and pneumatics

used computerised and other control equipment to achieve desired milling outcomes

determined fuel sources and power demand patterns for mill operations

assessed fuel supply capacity

determined control equipment and control options for mill

established risk management and contingency strategies for mill power and automation

integrated equipment maintenance and lubrication strategies with production requirements

interpreted manuals, other technical information, diagrams and drawings

applied safe work practices and identified work health and safety hazards and controls.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

types of electric motors and their advantages and disadvantages

function and operational requirements of power system components, including:

mains supply terminal

mill transformers

back-up generation and supply system

electrical safety systems

motor control and motor protection strategies

demand and diversity factors

fuel sources for mill uses, including:

on-site boilers

emergency generators

fuel powered equipment

mechanical power transmission types and principles, including:

direct drives

belt drives

chain drives

gears

factors influencing the velocity of particles in free air and in positive and negative air streams

strategy for the prevention of dust explosions

design principles used in exhaust systems for fans, ductwork and dust collectors

advantages and disadvantages of axial flow, propeller and centrifugal fans

advantages and disadvantages of forward, backward and radial bladed rotors

types of mill controls and back-up strategies

purpose and function of instrumentation, including:

proximity switches

position sensors

transducers

tachometers

flow meters

weighers

load cells

bin level indicators

pressure switches

programmable logistic controllers (PLCs), system control and data acquisition (SCADA) systems, and other programmable instrumentation and systems

mill equipment and its location and function

maximum power demand for mill

typical range of power demand for mill, taking into account scope of equipment and average production requirements.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace or an environment that accurately represents workplace conditions

resources, equipment and materials:

personal protective equipment relevant to flour milling operations

sampling schedules and test procedures and equipment

specifications:

work procedures, including advice on safe work practices, food safety, quality and environmental requirements

equipment manuals including operating parameters

specifications, control points and processing parameters

documentation and recording requirements and procedures.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=78b15323-cd38-483e-aad7-1159b570a5c4