# Assessment Requirements for FBPLAB2003 Perform basic analytical tests

Release: 1

Assessment Requirements for FBPLAB2003 Perform basic analytical tests

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with FBP Food, Beverage and Pharmaceutical Training Package Version 2.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has performed basic analytical tests, including:

prepared samples using at least two different methods

performed at least three basic tests using standard methods and procedures

recorded results accurately.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

purpose of tests performed as part of job role and principles of the standard methods/specifications used

sample preparation processes relevant to job role

typical basic tests and methods relevant to job role

measurements used for typical tests

function of key components of the test equipment, pre-use equipment and safety checks

common causes and effects of inaccuracies or contamination, and preventive or corrective action required

normal range of results for products tested

relevant standards, specifications and legislative requirements (quality, health, food safety, labelling and equipment) and their implications on testing requirements

health and safety hazards and controls

safety data sheets (SDS) for chemicals used

environmental issues and controls relevant to work role

workplace requirements for recording and reporting problems

cleaning and sanitising requirements of equipment and work area.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a standard laboratory or an environment that accurately represents workplace conditions

resources, equipment and materials:

a laboratory space equipped with basic test equipment, common measuring instruments, materials

specifications:

standard methods, workplace procedures, SDS and equipment manuals.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume Implementation Guides are found in VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=78b15323-cd38-483e-aad7-1159b570a5c4