# Assessment Requirements for FBPOPR1016 Take and record basic measurements

Release: 1

Assessment Requirements for FBPOPR1016 Take and record basic measurements

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with FBP Food, Beverage and Pharmaceutical Training Package Version 6.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has taken and recorded basic measurements for different purposes, including:

estimating and accurately measuring length, weight, volume, flow and time using the correct units

using at least three different items of measuring equipment.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

purpose of measuring as applied to work responsibilities, and related measuring equipment and units of measurement, including the required accuracy of the measurement and the capability/accuracy level of equipment used

measuring equipment/device preparation requirements and purpose, including calibration requirements and responsibilities for maintaining accurate measuring equipment/devices

health and safety hazards associated with using the measuring equipment/device, and related safe operating procedures

typical/required range for measurement results

common factors and conditions that could affect the measurement result

procedures to follow where measurements are out of range, such as repeating the measurement one or more times

consequences of measurements that are out of range

responsibilities to report measurement information.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

a workplace or an environment that accurately represents workplace conditions

resources, equipment and materials:

measuring equipment/devices

materials/items to be measured

recording and reporting system

specifications:

safe work procedures.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=78b15323-cd38-483e-aad7-1159b570a5c4