# FBPOPR1016 Take and record basic measurements

Release: 1

FBPOPR1016 Take and record basic measurements

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with FBP Food, Beverage and Pharmaceutical Training Package Version 6.0. |

# Application

This unit of competency describes the skills and knowledge required to use basic measuring equipment and devices, and read and record the results.

This unit applies to individuals who work alongside a supervisor in most situations and exercise limited autonomy. Applications include simple tests that involve automated measuring devices.

All work must be carried out to comply with workplace procedures according to state/territory health and safety regulations, legislation and standards that apply to the workplace.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Operational (OPR)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Identify measurement requirements | 1.1 Identify the purpose of the measuring task 1.2 Identify measuring requirements, including frequency and accuracy range 1.3 Confirm that measuring equipment is available and fit for purpose |
| 2. Take measurements | 2.1 Carry out measuring tasks to requirements and according to safe work practices 2.2 Check measurement results for accuracy 2.3 Identify non-standard or out-of-range results, and report to supervisor 2.4 Record the results of measurements in the required format |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria

| Skill | Description |
| --- | --- |
| Numeracy | Measure length (mm, cm, m, km), weight (mg, g, kg, tonne), volume (ml, L), time (sec, min, H) and temperature (C) Measure rates per hour (or nominated time) Identify measurements to two decimal points Estimate measurements to check accuracy Read gauges and scales |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| FBPOPR1016 Take and record basic measurements | FBPOPR1008 Take and record basic measurements | Application of unit clarified Minor change to Performance Criteria Foundation Skills refined Performance Evidence and Knowledge Evidence clarified Minor changes to Assessment Conditions | Equivalent |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=78b15323-cd38-483e-aad7-1159b570a5c4