# FBPOPR2045 Operate pumping equipment

Release: 1

FBPOPR2045 Operate pumping equipment

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with FBP Food, Beverage and Pharmaceutical Training Package Version 1.0 |

# Application

This unit of competency describes the skills and knowledge required to set up, operate and monitor pumping equipment.

This unit applies to individuals who work under general supervision and exercise limited autonomy in a food processing environment. It typically applies to the production worker responsible for applying basic operating principles to the operation and monitoring of pumping and associated equipment.

All work must be carried out to comply with workplace procedures, in accordance with State/Territory work health and safety, and food safety regulations, legislation and standards that apply to the workplace.

No occupational licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Operational (OPR)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare pumps for operation | 1.1 Confirm pumps and related equipment are available to meet operating requirements 1.2 Wear appropriate personal protective clothing and ensure correct fit 1.3 Carry out pre-start checks on pumps and related equipment according to work health and safety and operating procedures 1.4 Select appropriate settings to meet safety and production requirements 1.5 Monitor and maintain condition of pumps and related equipment, and identify and report maintenance requirements according to workplace reporting requirements |
| 2. Monitor pump operation | 2.1 Start and monitor pumps and related equipment to identify variation in operating conditions 2.2 Take corrective action to maintain pump operation within equipment capacity and operating parameters |
| 3. Complete pump operation | 3.1 Prepare pumps for cleaning and/or maintenance according to work health and safety and food safety requirements 3.2 Conduct work in accordance with workplace environmental guidelines 3.3 Maintain the work area according to workplace procedures 3.4 Maintain workplace records according to workplace procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret workplace and standard operating procedures relevant to job role Interpret production requirements |
| Writing | Record operating, routine maintenance and shutdown information on paper-based and electronic media |
| Numeracy | Monitor and interpret production and process control indicators and data Monitor supply and flow of materials to and from the process |
| Navigate the world of work | Apply workplace procedures to own role and responsibilities Identify skills, knowledge and experience required for performing own role in the workplace Ask questions to clarify understanding or seek further information |
| Interact with others | Communicate and report operational and safety information to relevant personnel Use modes of communication suitable to purpose to confirm understanding when conducting operational start-up and shutdown procedures |
| Get the work done | Access and interpret process control panels and system Maintain a clean and hazard-free work area Identify out-of-specification standards and maintain quality specifications Confirm equipment status and condition Interpret process and equipment information to monitor process and respond to abnormal performance and variations |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| FBPOPR2045 Operate pumping equipment | FDFOP2045A Operate pumping equipment | Updated to meet Standards for Training Packages | Equivalent unit |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=78b15323-cd38-483e-aad7-1159b570a5c4