# Assessment Requirements for FBPOPR2068 Operate a process control interface

Release: 1

Assessment Requirements for FBPOPR2068 Operate a process control interface

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with FBP Food, Beverage and Pharmaceutical Training Package Version 2.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has safely and effectively operated a process control interface on at least two occasions, including:

recognising and responding to error messages and alarms

accessing relevant performance data using the control system, including locating and interpreting performance trend information

recording log information using the interface system according to workplace procedures.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

processes and equipment being controlled, including required processing sequences

operating principles of process control and interface system, including the relationship between control panels, systems and the physical equipment, and where relevant, operating conditions required for accurate information input from sensors and related instrumentation

action required to respond to error messages and alarms

typical faults that can occur when operating a process control interface and corrective action required

performance data collected by the control interface system and its application to troubleshoot performance, including the ability to identify and investigate related trend data to track cause and effect

recording requirements and responsibilities.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

skills must be demonstrated in a workplace setting or an environment that accurately represents a real workplace

resources, equipment and materials:

process control interface hardware and software

work station or equipment to be controlled

process to be controlled

communication systems and equipment

workplace information recording systems, requirements and procedures

specifications:

operating procedures and related advice on equipment operation.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume Implementation Guides are found in VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=78b15323-cd38-483e-aad7-1159b570a5c4