# FBPOPR2068 Operate a process control interface

Release: 1

FBPOPR2068 Operate a process control interface

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with FBP Food, Beverage and Pharmaceutical Training Package Version 2.0. |

# Application

This unit of competency describes the skills and knowledge required to operate a computer-based interface to modify and/or interrogate a control system.

This unit applies to individuals who work under general supervision. This includes identifying and providing solutions to a limited range of predictable problems.

No occupational licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Operational (OPR)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Navigate the process control interface | 1.1 Confirm the readiness of the control interface and related components for operation 1.2 Use the hardware provided to operate the interface 1.3 Use page links to move between screens 1.4 Acknowledge messages and alarms 1.5 Access required information from screen displays 1.6 Record interface system malfunctions and report to supervisor |
| 2. Use interface system to operate and maintain a process within required parameters | 2.1 Start, monitor and shut down individual items of equipment and processes using the control interface 2.2 Select equipment, alter status and enter settings to meet operating requirements 2.3 Activate sequences to initiate process operation 2.4 Recognise equipment giving a bad signal or bad measurements and take responsive action |
| 3. Analyse data to predict and control performance | 3.1 Select and analyse trends to identify performance patterns 3.2 Identify causes of abnormal or unacceptable performance and take corrective action 3.3 Record information in workplace format |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Access and interpret process control panels and system |
| Numeracy | Monitor and interpret production and process control indicators and data Monitor supply and flow of materials and product |
| Navigate the world of work | Ask questions to clarify understanding or seek further information |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| FBPOPR2068 Operate a process control interface | FDFOP2030A Operate a process control interface | Updated to meet Standards for Training Packages Minor changes to Performance Criteria to clarify intent | Equivalent unit |

# Links

Companion Volume Implementation Guides are found in VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=78b15323-cd38-483e-aad7-1159b570a5c4