# FBPOPR2088 Operate pumping equipment

Release: 1

FBPOPR2088 Operate pumping equipment

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with FBP Food, Beverage and Pharmaceutical Training Package Version 6.0. |

# Application

This unit of competency describes the skills and knowledge required to set up, operate and monitor pumping equipment.

This unit applies to individuals who work under general supervision and in a food processing environment. It typically applies to the production worker responsible for applying basic operating principles to the operation and monitoring of pumping and associated equipment.

All work must be carried out to comply with workplace procedures according to state/territory health and safety, environmental and food safety regulations, legislation and standards that apply to the workplace.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Operational (OPR)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare pumps for operation | 1.1 Confirm pumps and related equipment are available to meet operating requirements 1.2 Wear appropriate personal protective clothing and ensure correct fit 1.3 Carry out pre-start checks on pumps and related equipment according to safe work procedures 1.4 Select appropriate settings to meet safety and production requirements 1.5 Monitor and maintain condition of pumps and related equipment, and identify and report maintenance requirements according to workplace reporting requirements |
| 2. Monitor pump operation | 2.1 Start and monitor pumps and related equipment to identify variation in operating conditions 2.2 Take corrective action to maintain pump operation within equipment capacity and operating parameters |
| 3. Complete pump operation | 3.1 Prepare pumps for cleaning and/or maintenance according to health, safety and food safety requirements 3.2 Conduct work in accordance with workplace environmental guidelines 3.3 Maintain the work area according to workplace procedures 3.4 Maintain workplace records according to workplace procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret standard operating procedures relevant to job task Interpret pumping requirements |
| Writing | Record operating, routine maintenance and shutdown information using digital and/or paper-based formats |
| Oral communication | Report operational and safety information to relevant personnel |
| Numeracy | Monitor and interpret pumping control indicators, including amperage, speed and flow rates |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| FBPOPR2088 Operate pumping equipment | FBPOPR2045 Operate pumping equipment | Minor changes to Performance Criteria to clarify task Foundation Skills refined Performance Evidence clarified Minor changes to Knowledge Evidence and Assessment Conditions | Equivalent |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=78b15323-cd38-483e-aad7-1159b570a5c4

Assessment Requirements for FBPOPR2088 Operate pumping equipment

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with FBP Food, Beverage and Pharmaceutical Training Package Version 6.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has operated pumping equipment to effectively transfer at least one batch of product, including:

applying safe work procedures

following food safety procedures

conducting pre-start checks, including:

inspecting pump flanges, gaskets and seals to identify any signs of wear

checking related valve assemblies to identify any signs of leaks

cancelling isolation or lock-outs (where pumps have variable settings that involve selecting appropriate settings and confirming that related pipework is correctly configured for pumping requirements)

monitoring and adjusting pump operation, including identifying variation in amperage and adjusting pump speeds/flow rates to meet pumping requirements

addressing routine operational issues.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

basic operating principles of pumps and related equipment, including:

main pump components

status and purpose of guards

pump system configuration, including valves, taps and hoses or pipework

the effect of pumping system design on operating performance, including flow resistance, pressure and head

operating capacities of pumps used in the work area, including different pump types to perform pumping operations

effect of raw material characteristics on pump performance, including variables that include soluble solids, temperature and viscosity

effect of pump operating parameters on product/materials pumped

corrective action required where pump operation is outside specified operating parameters

typical equipment faults and related causes relevant to operating pumping equipment, including:

signs and symptoms of faulty equipment

early warning signs of potential problems

services required

isolation, lock-out and tag-out procedures and responsibilities required for operating pumping equipment

contamination/cross-contamination and food safety risks associated with pumping, and related control measures

health and safety hazards and controls relevant to operating pumping equipment

procedures and responsibility for reporting problems

environmental issues and controls, including action required in the event of significant leaks or spills

basic operating principles of process control, including the relationship between control panels and systems and the physical equipment

cleaning procedures required for operating pumping equipment.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

a food processing workplace or an environment that accurately represents workplace conditions

resources, equipment and materials:

pump, hoses and related equipment and services

personal protective clothing

product to be pumped

cleaning materials and equipment

specifications:

work procedures, including advice on safe work practices, food safety, quality and environmental requirements

information on equipment capacity and operating parameters.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=78b15323-cd38-483e-aad7-1159b570a5c4