# Assessment Requirements for FBPPHM3003 Work in a controlled environment

Release: 1

Assessment Requirements for FBPPHM3003 Work in a controlled environment

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with FBP Food, Beverage and Pharmaceutical Training Package Version 2.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has worked in at least one controlled environment, and demonstrated that they have:

accessed workplace information to identify controlled environment work requirements

read and interpreted workplace procedures, including pictorial and written signs/instructions applicable to working in a controlled environment

checked operating conditions of the controlled environment according to workplace and Good Manufacturing Practice (GMP) requirements

maintained good personal hygiene and cleanliness appropriate to working in a controlled environment, consistent with GMP requirements, including:

making team leader or supervisor aware of reportable illness

removal of jewellery

removal of makeup

following changing procedures

cleaned and sanitised hands using recognised procedures for:

washing with soap and water

rubbing with an alcohol-based formulation

used facility suits and personal protective equipment appropriate for the grade of controlled environment or cleanroom in a manner that does not generate additional contaminants

entered and exited a controlled environment in a manner to minimise contamination

identified and reported any condition that may cause shedding of abnormal numbers or types of contaminants

identified contamination hazards typically encountered in pharmaceutical manufacturing environments and took steps to prevent identified hazards

cleaned and maintained work area to meet workplace cleaning standards and environmental requirements.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

international nomenclature and classification of controlled environments and cleanrooms

GMP grades of cleanrooms and their relationship to the International Organization for Standardization (ISO) classification system

GMP requirements for the qualification of cleanrooms

key design requirements for controlled environments and cleanroom for product protection:

layout and architecture

product and process requirements for clean air

filtration, including High Efficiency Particulate Air (HEPA) filters and the theory of particle filtration

airlocks for materials, equipment and people

turbulent and laminar air flows

pressure differentials

box-within-a-box principle

cleanability and maintainability

how controlled environments operate to control contamination, including:

clean rooms, including how they are certified

controlled, non-classified environments

clean zones

monitor and test systems

isolator technology

at rest and in operation

gowning and cleaning

GMP requirements and workplace procedures for working in controlled environments and cleanrooms, including:

requirements for approving and taking commodity items into the cleanroom

restrictions on movement of personnel to minimise cross-contamination

cleanroom garments, including types, materials, processing and reprocessing

personal hygiene requirements

clothing and footwear requirements for working in and moving between work areas

personal clothing use, storage and disposal requirements

workplace cleaning standards and environmental requirements relating to own work

responsibilities of general cleaning staff and how to work with a cleaning team

the role of cleaning and sanitising in preventing contamination of materials and products and protection of personnel, including:

how improper cleaning of a controlled environment or cleanroom can lead to product contamination

the need for proper selection of equipment and materials for proper cleaning

controlled environment operating conditions, including:

differentials pressures

particle counts

microbial sampling

laminar air flow

humidity

temperature

room status

cleanliness status

hygiene and basic elements of microbiology

sources of contamination, including:

product

people

tools

facilities

equipment

risks associated with controlled environment and cleanroom operators:

physical behaviour, including how to walk and stand in a cleanroom

personal hygiene

psychological

workplace attitudes and habits

communications between workers

electrostatic discharge

contamination risks associated with controlled environment and clean room operations, including:

number of personnel in the controlled environment

activities being undertaken

leaks

malfunctioning equipment

low differential pressures

high particle counts

incorrect air flow and velocity

humidity

temperature

room status inactive or in alarm

lack of cleanliness

common practices inconsistent with GMP found in controlled environment and clean room operations, including:

damage to plant or equipment

failure of cleaning regime

signs of pest infestation

missing or inaccurate records

failure to follow workplace procedures.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a pharmaceutical manufacturing workplace or an environment that accurately represents workplace conditions

resources, equipment and materials:

personal protective equipment and contamination prevention clothing

cleaning materials and equipment associated with working in a controlled environment

specifications:

workplace procedures related to working in a controlled environment including gowning/de-gowning procedures that comply with GMP requirements

workplace cleaning standards and environmental requirements related to working in a controlled environment.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume Implementation Guides are found in VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=78b15323-cd38-483e-aad7-1159b570a5c4