# Assessment Requirements for FBPSUG2020 Operate a coal fuel supply system

Release: 1

Assessment Requirements for FBPSUG2020 Operate a coal fuel supply system

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with FBP Food, Beverage and Pharmaceutical Training Package Version 2.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has operated a coal fuel supply system in line with workplace contexts and demonstrated each of the following points at least once:

followed set-up and start-up procedures

confirmed status of fuel supply system and related services

operated, monitored and adjusted a coal fuel system and related auxiliary fuel system to supply a boiler

cleared fuel blockages or chokes throughout the system

carried out procedures for test firing burners

carried out procedures to take fuel supply system off-line

removed, inspected, cleaned and replaced oil burners

followed shift handover procedure

taken corrective action in response to abnormal or unacceptable performance.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

principles of flame management systems, including understanding of when and how to purge boiler before relighting in a flame-out situation

the amount of caustic addition for each tonne of coal burnt

purpose and operation of auxiliary fuel supply

functions and operating principles of fuel supply system, components and auxiliary equipment

supply system layout

the effect of fuel quality and supply on boiler operation

relationship between fuel supply system and other processes

fuel storage requirements

fuel reclamation options and procedures as appropriate for the workplace and fuel type

key health and safety requirements relevant to operating a coal fuel supply system:

hazards related to operation of fuel supply system and associated control measures

correct use of personal protective equipment (PPE)

methods used to render equipment safe to inspect, maintain and clean, including lock-out, tag-out and isolation procedures

procedures for responding to emergency situations, including emergency shutdown procedure

handover and long-term shutdown and storage procedures for operating a coal fuel supply system

procedures and responsibility for reporting problems

environmental and waste handling requirements and procedures for operating a coal fuel supply system

recording requirements and procedures relevant to operating a coal fuel supply system.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a workplace or an environment that accurately reflects performance in a real workplace setting

resources, equipment and materials:

PPE

coal fuel supply equipment

auxiliary fuel supply equipment

fuel and services as required

maintenance tools

workplace information recording system

specifications:

operating procedures and related advice on equipment operation, including advice on safe work practices and environmental requirements

product and process specifications and operating parameters

workplace cleaning standards and procedures

workplace information recording procedures

sampling schedule and procedures.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume Implementation Guides are found in VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=78b15323-cd38-483e-aad7-1159b570a5c4