# Assessment Requirements for FBPSUG2022 Operate a waste water treatment system

Release: 1

Assessment Requirements for FBPSUG2022 Operate a waste water treatment system

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with FBP Food, Beverage and Pharmaceutical Training Package Version 2.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has operated a waste water treatment system in line with workplace contexts and demonstrated each of the following points at least once:

conducted pre-start checks of equipment and services

selected, fitted and used required personal protective equipment (PPE)

operated, monitored and adjusted waste water treatment system according to operating procedures

maintained work area to meet cleaning standards

handled chemicals safely

reported health and safety risks and maintenance requirements

performed shutdown procedures

conducted shift handover procedure

taken corrective action in response to typical operating faults, out-of-specification results or non-compliance

recorded waste water treatment information

followed waste water system operating procedures.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

equipment purpose and operating principles of waste water treatment equipment and methods

water cycles for trade waste, storm water and sewerage, including sources and flow patterns

purpose of chemicals used in waste water treatment systems

purpose of first flush systems and their relationship with the waste water treatment system

typical causes of non-conforming water quality, and corrective action required

key health and safety requirements for operating waste water treatment systems:

hazards related to waste water system operation, and associated control measures

correct use of PPE

lock-out, tag-out and isolation procedures

procedures for operational and long-term shutdown

environmental issues and controls for operating waste water treatment systems:

company policy relating to environmental performance

waste characteristics and treatment methods

waste handling requirements and procedures

procedures and responsibility for reporting problems for operating waste water treatment systems

recording requirements and procedures for operating waste water treatment systems.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

skills must be demonstrated in a sugar milling workplace or an environment that accurately represents workplace conditions

resources, equipment and materials:

PPE

waste water treatment system and related chemicals

water testing equipment

workplace information recording system

specifications:

operating procedures and related advice on equipment operation

water quality sampling and test procedures

workplace cleaning standards and procedures

workplace information requirements and procedures.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume Implementation Guides are found in VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=78b15323-cd38-483e-aad7-1159b570a5c4