# Assessment Requirements for FBPSUG2023 Operate a cooling water system

Release: 1

Assessment Requirements for FBPSUG2023 Operate a cooling water system

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with FBP Food, Beverage and Pharmaceutical Training Package Version 2.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has operated a cooling water system in line with workplace contexts and demonstrated each of the following points at least once:

followed set up and start-up procedures

selected, fitted and used required personal protective equipment (PPE)

operated, monitored and adjusted cooling water system operation according to procedures

maintained work area to meet cleaning standards

reported health and safety risks and maintenance requirements

cleaned and shut down the cooling water system according to procedures

taken corrective action in response to typical operating faults, out-of-specification results or non-compliance

recorded cooling water system information.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

purpose and principles of evaporative cooling and water treatment to prevent corrosion and microbiological fouling

equipment purpose and operating principles of cooling water system and related equipment, including pumps, valves, tower and fans and dosing system

cooling water system layout

purpose of chemicals used for operating a cooling water system

water quality test procedures for operating a cooling water system

the effect of make-up water quality on blow down rates and fouling rates

typical causes of water contamination, and corrective action

typical causes and consequences of system fouling

key health and safety requirements for a cooling water system:

hazards related to cooling water system operation, and associated control measures

correct use of PPE

methods used to render equipment safe to inspect, maintain and/or clean, including lock-out, tag-out and isolation procedures

procedures for operating the emergency cooling water system

environmental issues and controls, including those relating to chemical and/or container disposal and any overflow of the system to waters of the state

recording requirements and procedures relevant to operating a cooling water system

cleaning standards for maintaining the equipment and work area.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

skills must be demonstrated in a sugar milling workplace or an environment that accurately represents workplace conditions

resources, equipment and materials:

PPE

cooling water system and related equipment

chemicals

test equipment

communication system

specifications:

relevant standard operating procedures and related advice on equipment operation

workplace cleaning standards for the work area workplace information requirements and procedures.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume Implementation Guides are found in VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=78b15323-cd38-483e-aad7-1159b570a5c4