# FBPSUG2023 Operate a cooling water system

Release: 1

FBPSUG2023 Operate a cooling water system

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with FBP Food, Beverage and Pharmaceutical Training Package Version 2.0. |

# Application

This unit of competency describes the skills and knowledge required to operate cooling towers or spray ponds to supply treated, cool water for factory requirements.

The unit applies to individuals who work under supervision in the sugar milling industry.

All work must be carried out to comply with workplace procedures according to state/territory health and safety regulations, legislation and standards that apply to the workplace.

No occupational licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Sugar milling (SUG)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare the cooling tower for operation | 1.1 Follow tower cleaning procedures and complete cleaning records according to workplace procedures 1.2 Confirm chemicals are available and delivery systems are ready for operation 1.3 Ensure make-up water supply is available and meets quality requirements 1.4 Select, fit and use personal protective equipment according to workplace safety procedures 1.5 Conduct pre-operational checks according to operating procedures 1.6 Identify and report health and safety hazards and maintenance requirements to appropriate personnel |
| 2. Start and monitor cooling tower | 2.1 Start the system according to operating procedures 2.2 Confirm operating condition and cleanliness according to operating procedures 2.3 Monitor, test and adjust water quality according to operating procedures 2.4 Ensure the work area is maintained to meet workplace cleaning standards |
| 3. Analyse and respond to abnormal performance | 3.1 Check water condition and plant operating conditions for abnormal performance 3.2 Take corrective action in response to hazards, out-of-specification test results or abnormal plant performance 3.3 Implement emergency procedures according to health and safety procedures in the workplace |
| 4. Shut down and clean the cooling water system | 4.1 Ensure the timing and sequencing of system shutdown meets production requirements 4.2 Clean the system according to workplace procedures 4.3 Identify and report operational maintenance requirements 4.4 Record workplace information according to workplace procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret information in workplace documentation |
| Numeracy | Monitor and interpret cooling water system control indicators and data against specifications |
| Navigate the world of work | Understand main tasks, responsibilities and boundaries of own role Apply workplace procedures relevant to own role |
| Interact with others | Apply workplace communication practices to report issues or provide information |
| Get the work done | Access and interpret cooling water system controls and indicators Make routine decisions to correct abnormal plant performance |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| FBPSUG2023 Operate a cooling water system | FDFSUG223A Operate a cooling water system | Updated to meet Standards for Training Packages | Equivalent unit |

# Links

Companion Volume Implementation Guides are found in VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=78b15323-cd38-483e-aad7-1159b570a5c4