# FBPSUG3006 Monitor a sugar mill powerhouse

Release: 1

FBPSUG3006 Monitor a sugar mill powerhouse

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with the FBP Food, Beverage and Pharmaceutical Training Package Version 2.0. |

# Application

This unit of competency describes the skills and knowledge required to operate and monitor one or more turbines with attached alternators supplying factory power. It applies to both continuous and short-term powerhouse operation, including start-up and shutdown after a prolonged break.

The unit applies to individuals working in the sugar milling industry. The work is typically carried out in liaison with an electrician.

All work must be carried out to comply with workplace procedures according to state/territory health and safety regulations, legislation and standards that apply to the workplace.

No occupational licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Prerequisite unit of competency for this unit is:

UEPOPL001A Licence to operate a steam turbine.

# Unit Sector

Sugar milling (SUG)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare to operate the powerhouse | 1.1 Select, fit and use personal protective equipment according to workplace safety procedures 1.2 Run warm-up sequence of turbines and alternators in preparation for handover from local powerhouse to powerhouse consul |
| 2. Monitor powerhouse operation | 2.1 Monitor powerhouse output against site requirements 2.2 Monitor equipment to confirm operating condition according to workplace requirements 2.3 Ensure the workplace meets cleaning standards |
| 3. Analyse and respond to abnormal performance | 3.1 Analyse plant operating data and conditions to identify causes of abnormal performance 3.2 Take corrective action in response to workplace hazards and abnormal plant performance 3.3 Implement emergency procedures according to health and safety procedures |
| 4. Hand over powerhouse operation | 4.1 Maintain workplace records according to workplace procedures 4.2 Carry out handover according to workplace procedures 4.3 Notify powerhouse operators of powerhouse and related equipment status |
| 5. Shut down the powerhouse | 5.1 Identify the powerhouse shut down procedure and implement 5.2 Prepare the powerhouse for storage in shutdown mode 5.3 Identify and report operational maintenance requirements according to workplace procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Oral communication | Speak clearly and use accurate terminology to communicate with others |
| Numeracy | Monitor and interpret powerhouse control indicators and data |
| Navigate the world of work | Apply workplace procedures relevant to own role Understand own role and associated responsibilities |
| Interact with others | Apply communication practices and protocols relevant to own role |
| Get the work done | Access and interpret powerhouse control panels and system Make decisions to correct abnormal plant performance Identify and correct problems within own level of responsibility |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| FBPSUG3006 Monitor a sugar mill powerhouse | FDFSUG306A Monitor a sugar mill powerhouse | Updated to meet Standards for Training Packages | Equivalent unit |

# Links

Companion Volume Implementation Guides are found in VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=78b15323-cd38-483e-aad7-1159b570a5c4