# FBPSUG3007 Perform factory control tests

Release: 1

FBPSUG3007 Perform factory control tests

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with FBP Food, Beverage and Pharmaceutical Training Package Version 2.0. |

# Application

This unit of competency describes the skills and knowledge required to perform tests for factory control. These tests are typically complex and/or non-routine and require interpretation of results within broad guidelines.

The unit applies to individuals working in the sugar industry who are required to perform factory control tests and record data in a sugar mill.

All work must be carried out to comply with workplace procedures according to state/territory health and safety regulations, legislation and standards that apply to the workplace.

No occupational licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Sugar milling (SUG)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare for testing | 1.1 Identify testing requirements and methods according to workplace requirements 1.2 Select, fit and use personal protective equipment according to workplace procedures 1.3 Manage calibration of test equipment according to operating procedures 1.4 Prepare standard graphs according to workplace procedures 1.5 Prepare and label test chemicals and reagents according to workplace procedures 1.6 Prepare samples as required by test method 1.7 Conduct and record pre-test checks according to workplace procedures |
| 2. Conduct test | 2.1 Perform test according to test method and test schedule 2.2 Identify and report atypical test results 2.3 Record and communicate test results according to recordkeeping requirements 2.4 Follow procedures to repeat or validate results 2.5 Clean, care for and store equipment according to workplace procedures 2.6 Dispose of waste materials according to workplace procedures |
| 3. Record test data in laboratory information system | 3.1 Enter results into laboratory information systems according to workplace procedures 3.2 Correct data entry errors as required 3.3 Store and retrieve data in the laboratory information system according to workplace procedures 3.4 Produce standard and non-standard reports from laboratory information system |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Numeracy | Calculate and confirm calibration of equipment Review and validate numerical test data and results Produce graphical information |
| Navigate the world of work | Apply workplace procedures relevant to own role Understand own role and associated responsibilities |
| Get the work done | Complete tasks in logical order Use workplace digital system to record and store data Organise and filter system information to produce required reports |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| FBPSUG3007 Perform factory control tests | FDFSUG307A Perform factory control tests | Updated to meet Standards for Training Packages | Equivalent unit |

# Links

Companion Volume Implementation Guides are found in VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=78b15323-cd38-483e-aad7-1159b570a5c4

Assessment Requirements for FBPSUG3007 Perform factory control tests

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with FBP Food, Beverage and Pharmaceutical Training Package Version 2.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has performed factory control tests in line with workplace contexts and demonstrated each of the following points at least once:

identified test requirements and methods

selected, fitted and used personal protective equipment (PPE)

prepared test equipment, chemicals and reagents for testing

safely prepared required samples

managed calibration of test equipment

conducted tests and recorded results

communicated test results

identified and reported non-conformances

recorded information in the laboratory information system

cleaned and stored equipment and treated, recycled or disposed of tested materials after testing.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

laboratory information system recordkeeping requirements

methods used to plot, analyse and present test data, including production of both standard and non-standard reports

purpose of the test procedure, including a basic knowledge of chemistry and physics principles relating to the tests performed, and operating principles of equipment used

specific test methods and procedures

terminology relating to the types of tests and related methods used

typical causes of out-of-specification results, and procedure for repeating the analysis

safe work procedures, including hazards associated with specific test procedure requirements, working with chemicals and test equipment.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

skills must be demonstrated in a sugar milling workplace or an environment that accurately represents workplace conditions

resources, equipment and materials:

PPE

test equipment, chemicals and reagents and related equipment

materials to be tested

sample labelling and recording system

laboratory recording and reporting system

specifications:

operating procedures and related advice on equipment operation, including advice on safe work practices

test methods and procedures

workplace standards and procedures.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume Implementation Guides are found in VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=78b15323-cd38-483e-aad7-1159b570a5c4