# Assessment Requirements for FBPVIT2017 Operate nursery cold storage facilities

Release: 1

Assessment Requirements for FBPVIT2017 Operate nursery cold storage facilities

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with FBP Food, Beverage and Pharmaceutical Training Package Version 2.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has safely and effectively operated, monitored and maintained nursery cold storage facilities at least once and demonstrated the following including:

following health and safety procedures in the workplace

applying workplace procedures to cold room operations

selecting and fitting personal protective equipment (PPE)

monitoring cold storage and stock conditions according to workplace procedures

identifying and reporting on anomalies

shutting down, cleaning, sanitising and securing cold storage facilities

identifying and addressing non-conformances

maintaining records according to workplace procedures

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

health and safety hazards and controls when working in a cold room, including:

PPE

health and safety procedures

accessing workplace information required to operate cold storage facilities

principles and practices of cold room planning and operation, including:

purpose and components of a cold room

operating cold room equipment according to workplace procedures

principles and practices of maintaining cold room performance including:

packing and monitoring a cold room including temperature, humidity and air flow

common non-conformances and the corrective action required

effect of cold storage on cuttings

post-storage treatment of cuttings

applying cold room plan

moving material in and out of cold room

using manual and mechanical transfer methods

monitoring the health of cuttings during storage and checking for signs of:

dehydration

fungal infection

starting up and shutting down equipment

cold room nursery hygiene, including:

workplace environmental procedures and regulations

cleaning and sanitising requirements

waste collection and disposal

maintaining work area according to workplace procedures

types of workplace records.

# Assessment Conditions

Assessment of skills must take place under the following conditions:

physical conditions:

a plant nursery workplace or an environment that accurately represents workplace cool room conditions

resources, equipment and materials:

PPE used for operating a cold storage facility

equipment, services and materials for use in a cold storage facility

manual and mechanical cold storage transport

system for recording information

specifications:

workplace procedures, including advice on company practices and safe work practices

equipment instructions and operation specifications

quarantine regulations and relevant codes of practice

industry standard procedures for cold storage of grape vines

cold room storage plan.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume Implementation Guides are found in VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=78b15323-cd38-483e-aad7-1159b570a5c4