# FPICOT4206B Plan and coordinate boiler operations

Release: 1

FPICOT4206B Plan and coordinate boiler operations

# Modification History

Not Applicable

# Unit Descriptor

| Unit descriptor | This unit describes the outcomes required to plan the operation of a boiler and coordinate boiler operating personnel and the startup, shutdown and storing of a boiler General workplace legislative and regulatory requirements apply to this unit; however there are no specific licensing or certification requirements at the time of publication This unit replaces FPICOT4206A Plan and coordinate boiler operations |
| --- | --- |

# Application of the Unit

| Application of the unit | The unit involves planning and coordinating boiler operations in a variety of work settings, including saw mills, wood chip mills, veneer mills, board/plywood mills and timber treatment plants The skills and knowledge required for competent workplace performance are to be used within the scope of the person's job and authority |
| --- | --- |

# Licensing/Regulatory Information

Refer to Unit Descriptor

# Pre-Requisites

Not Applicable

# Employability Skills Information

| Employability skills | This unit contains employability skills |
| --- | --- |

# Elements and Performance Criteria Pre-Content

| Elements describe the essential outcomes of a unit of competency. | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the required skills and knowledge section and the range statement. Assessment of performance is to be consistent with the evidence guide. |
| --- | --- |

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| 1. Plan boiler operation | 1.1. Applicable occupational health and safety (OHS), environmental, legislative and organisational requirements relevant to planning and coordinating boiler operations are identified and followed 1.2. Boiler startup, operation and shutdown are planned in line with site requirements 1.3. Operation orders and schedules are set and communicated to personnel 1.4. Generation levels are calculated and communicated to operators 1.5. Communication with others is established and maintained in line with OHS requirements |
| 2. Coordinate boiler startup and operation | 2.1. Pre-operational safety and pre-startup checks and procedures are checked with the operators 2.2. Boiler startup is monitored for correct running conditions and is signed on 2.3. Continued operation of boiler and its condition are routinely checked with operating personnel 2.4. Problematic boiler operations are diagnosed, with adjustments calculated and communicated to operators 2.5. Boiler house chemicals are checked for correct labelling in line with statutory and environmental requirements 2.6. Emergency shutdown procedures are followed in case of a fire 2.7. Fuel efficiency recordings, calculations, operating log, boiler operation and equipment faults are recorded and reported 2.8. Assistance is provided to personnel with the evaluation of boiler data and performance details 2.9. Boiler management and output are monitored to record possible process improvements |
| 3. Coordinate boiler shutdown and storage | 3.1. Shutdown and lock-out procedures are directed in line with OHS legislation and statutory and environmental regulations 3.2. Condition of boiler is assessed and personnel are directed to undertake cleaning and maintenance requirements in line with site procedures, manufacturer recommendations and environmental requirements 3.3. Boiler is inspected, with valves and fittings removed, in line with statutory and environmental requirements 3.4. Mode of storage is selected and personnel are directed to store boiler in line with statutory requirements 3.5. Modifications are made to generation levels or schedules to ensure optimum performance, which are then communicated to personnel |

# Required Skills and Knowledge

REQUIRED SKILLS AND KNOWLEDGE

This describes the essential skills and knowledge and their level required for this unit.

Required skills

Technical skills sufficient to use and maintain relevant tools, machinery and equipment; plan and coordinate boiler operations; monitor boiler output Communication skills sufficient to use appropriate communication and interpersonal techniques with colleagues and others Literacy skills sufficient to record and report workplace information; maintain documentation Numeracy skills sufficient to measure, estimate and calculate time required to complete a task Problem solving skills sufficient to identify problems and equipment faults; demonstrate appropriate response procedures

Required knowledge

Applicable commonwealth, state or territory legislation, regulations, standards, codes of practice and established safe practices relevant to the full range of processes for planning and coordinating boiler operations Environmental protection requirements, including the safe disposal of waste material, the safe use and storage of chemicals, the minimisation of carbon emissions, and the cleaning of plant, tools and equipment Organisational and site standards, requirements, policies and procedures for planning and coordinating boiler operations Environmental risks and hazards Using energy effectively and efficiently Procedures for boiler startup, operation, shutdown and storage Energy generation levels Boiler scheduling and planning Established communication channels and protocols Problem identification and resolution strategies, and common fault finding techniques Types of tools and equipment, and procedures for their safe use and maintenance Appropriate mathematical procedures for estimating and measuring, including calculating time to complete tasks Procedures for recording and reporting workplace information

# Evidence Guide

| EVIDENCE GUIDE |  |
| --- | --- |
| The evidence guide provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge, range statement and the Assessment Guidelines for the Training Package. |  |
| Overview of assessment | A person who demonstrates competency in this unit must be able to provide evidence that they can safely and efficiently plan and coordinate boiler operations in line with organisational requirements |
| Critical aspects for assessment and evidence required to demonstrate competency in this unit | The evidence required to demonstrate competency in this unit must be relevant to, and satisfy all of the requirements of the elements of this unit and include demonstration of: following applicable commonwealth, state or territory legislative and regulatory requirements and codes of practice relevant to planning and coordinating boiler operations following organisational policies and procedures relevant to planning and coordinating boiler operations planning and coordinating boiler operations for the enterprise modifying production and schedules for boiler operations within the enterprise coordinating personnel to follow planning, communications and scheduling for boiler operations |
| Context of and specific resources for assessment | Competency is to be assessed in the workplace or realistically simulated workplace Assessment is to occur under standard and authorised work practices, safety requirements and environmental constraints Assessment of required knowledge, other than confirmatory questions, will usually be conducted in an off-site context Assessment is to follow relevant regulatory or Australian Standards requirements The following resources should be made available: workplace location or simulated workplace materials and equipment relevant to undertaking work applicable to this unit specifications and work instructions |
| Method of assessment | Assessment must satisfy the endorsed Assessment Guidelines of the FPI11 Training Package Assessment methods must confirm consistency and accuracy of performance (over time and in a range of workplace relevant contexts) together with application of required knowledge Assessment must be by direct observation of tasks, with questioning on required knowledge and it must also reinforce the integration of employability skills Assessment methods must confirm the ability to access and correctly interpret and apply the required knowledge Assessment may be applied under project-related conditions (real or simulated) and require evidence of process Assessment must confirm a reasonable inference that competency is able not only to be satisfied under the particular circumstance, but is able to be transferred to other circumstances Assessment may be in conjunction with assessment of other units of competency The assessment environment should not disadvantage the candidate Assessment practices should take into account any relevant language or cultural issues related to Aboriginality, gender or language backgrounds other than English Where the participant has a disability, reasonable adjustment may be applied during assessment Language and literacy demands of the assessment task should not be higher than those of the work role |

# Range Statement

| RANGE STATEMENT |  |
| --- | --- |
| The range statement relates to the unit of competency as a whole. It allows for different work environments and situations that may affect performance. Bold italicised wording, if used in the performance criteria, is detailed below. Essential operating conditions that may be present with training and assessment (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) may also be included. |  |
| OHS requirements: | are to be in line with applicable commonwealth, state or territory legislation and regulations, and organisational safety policies and procedures, and may include: personal protective equipment and clothing safety equipment first aid equipment fire fighting equipment hazard and risk control fatigue management elimination of hazardous materials and substances safe forest practices, including required actions relating to forest fire manual handling including shifting, lifting and carrying |
| Environmental requirements may include: | legislation organisational policies and procedures workplace practices |
| Legislative requirements: | are to be in line with applicable commonwealth, state or territory legislation, regulations, certification requirements and codes of practice and may include: award and enterprise agreements industrial relations Australian Standards confidentiality and privacy OHS the environment equal opportunity anti-discrimination relevant industry codes of practice duty of care |
| Organisational requirements may include: | legal organisational and site guidelines policies and procedures relating to own role and responsibility quality assurance procedural manuals quality and continuous improvement processes and standards OHS, emergency and evacuation procedures ethical standards recording and reporting requirements equipment use, maintenance and storage requirements environmental management requirements (waste minimisation and disposal, recycling and re-use guidelines) |
| Boiler is to include: | steam-generating boilers, including liquid or vapour restricted to water or steam fuel and fuel supply system boiler operations in conjunction with other plant |
| Operation order is to include: | instructions for the safe startup, operation, shutdown and storage of a steam boiler |
| Schedules | are itineraries setting startup and shutdown times in line with steam plant generation requirements |
| Generation levels are to include: | amount of steam produced subsequent amount of energy generated as a result of the pressure |
| Communication may include: | verbal and non-verbal language constructive feedback active listening questioning to clarify and confirm understanding use of positive, confident and cooperative language use of language and concepts appropriate to individual social and cultural differences control of tone of voice |
| Pre-startup checks | are conducted to ensure: equipment has been set up correctly systems are performing accurately equipment is operating to optimum performance |
| Diagnosis is to include: | use of audio, visual and written information water quality chemical testing |
| Boiler house | is normally the isolated room or building where the boiler is located |
| Emergency shutdown | is the immediate shutting off of the equipment to prevent an accident or damage to the plant |
| Records and reports may include: | fuel efficiency recordings and environmental impact calculations operating logs storage location quality outcomes hazards incidents equipment malfunctions and may be: manual a computer-based system other appropriate organisational communication system |
| Boiler data may include: | steam levels pressure levels energy generation levels heat build-up system overload information |
| Output | is the amount of energy produced to provide power to site operations |
| Shutdown | is the process of winding down the boiler and reducing pressure and steam until the system is cold and ready for cleaning and maintenance |
| Storage is to include: | close down time the boiler is inactive procedures for shutdown |

# Unit Sector(s)

Not Applicable

# Competency field

| Competency field | Common Technical |
| --- | --- |