# FPPHWP260A Receive waste paper

Release: 1

FPPHWP260A Receive waste paper

# Modification History

Not Applicable

# Unit Descriptor

| Unit descriptor | This unit describes the outcomes required to receive waste paper in the pulp and paper industry General legislation, regulatory, licensing and certification requirements applicable to this unit are detailed in the range statement Specific high risk (and non-high risk) load shifting licensing requirements for this unit may be applicable and are to be met separately and prior to the achievement of this unit |
| --- | --- |

# Application of the Unit

| Application of the unit | This unit applies to operators who receive waste paper in the pulp and paper industry. This work typically involves complex integrated equipment and continuous operations This unit generally applies to those who: check, weigh and record load data, and direct trucks for unloading to meet safety, quality and productivity requirements It does not include unloading waste paper or storing and dispatching waste paper |
| --- | --- |

# Licensing/Regulatory Information

Refer to Unit Descriptor

# Pre-Requisites

Not Applicable

# Employability Skills Information

| Employability skills | This unit contains employability skills |
| --- | --- |

# Elements and Performance Criteria Pre-Content

| Elements describe the essential outcomes of a unit of competency. | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the required skills and knowledge section and the range statement. Assessment of performance is to be consistent with the evidence guide. |
| --- | --- |

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| 1. Check, weigh and record load data | 1.1. Waste paper is checked, weighed and load data is recorded within Occupational Health and Safety (OHS) regulations, environmental and safe working requirements/practices, Standard Operating Procedures (SOP), and housekeeping requirements 1.2. Trucks delivering loads are identified, documents checked and load accepted 1.3. Load data, estimated weights or volumes are calculated and recorded 1.4. Non-conforming loads are handled 1.5. Confirmation of delivery record is obtained from truck driver |
| 2. Direct trucks for unloading | 2.1. Trucks are directed for unloading within OHS regulations, environmental and safe working requirements/practices, SOP, and housekeeping requirements 2.2. Trucks are directed to appropriate unloading area according to load grade 2.3. Yard personnel are notified of deliveries requiring unloading, as required 2.4. Truck movements in the yard are monitored |

# Required Skills and Knowledge

REQUIRED SKILLS AND KNOWLEDGE

This describes the skills and knowledge required for this unit.

Required skills

Uses required forms of communication in receiving waste paper Reads and interprets required documentation, procedures and reports Prepares brief written information Accesses, navigates and enters computer-based information Interprets instruments, gauges and data recording equipment Identifies and actions problems within level of responsibility Identifies and monitors process control points Maintains situational awareness in the work area Uses measuring equipment as required Sorts and grades waste paper to specification Calculates weights and tables Operates high risk (and non-high risk) load shifting equipment as required Analyses and uses sensory information to alter work sequence to maintain safety, quality and productivity Uses electronic and other control systems to control equipment and processes as required

Required knowledge

Procedures, regulations and legislative requirements relevant to receiving waste paper including OHS, environmental including relevant sustainability requirements/practices, SOP, isolation procedures, safe working requirements, risks and hazard identification and housekeeping Relevant forms of communication Basic problem-solving techniques consistent with level of responsibility Working knowledge of waste paper receiving processes, layout and associated services sufficient to receive waste paper within level of responsibility Loading areas Logistics controls Paper types, specifications, characteristics and grade specifications Application of high risk (and non-high risk) load shifting equipment as required Sensory information that indicates a deviation from standard operating parameters Sufficient knowledge of electronic and other control systems, operation and application that control waste paper receiving practices, within level of responsibility

# Evidence Guide

| EVIDENCE GUIDE |  |
| --- | --- |
| The evidence guide provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge, range statement and the Assessment Guidelines for the Training Package. |  |
| Overview of assessment |  |
| Critical aspects for assessment and evidence required to demonstrate competency in this unit | Evidence should be relevant to the work. It should satisfy the requirements of the elements and performance criteria and include consideration of: the required knowledge and skills tailored to the needs of the specific workplace applicable OHS regulations, environmental and safe working requirements/practices, SOP and housekeeping requirements applicable aspects of the range statement practical workplace demonstration of skills in receiving waste paper |
| Context of and specific resources for assessment | A workplace assessment must be used to assess: the application of required knowledge on the job the application of skills on the job, over time and under a range of typical conditions that may be experienced in receiving waste paper Access to the full range of equipment involved in receiving waste paper in a pulp or paper mill is required |
| Method of assessment | A combination of assessment methods should be used. The following examples are appropriate for this unit: observation of applied skills and knowledge on the job workplace demonstrations via a mock-up or simulation that replicate part/s of the job answers to written or verbal questions about specific skills and knowledge third-party reports from relevant and skilled personnel written evidence e.g. log sheet entries, checklist entries, test results Assessment processes and techniques must be culturally appropriate and in keeping with the language and literacy capacity of the learner and the work being performed. This includes conducting an assessment in a manner that allows thoughts to be conveyed verbally so that the learner can both understand and be understood by the assessor (e.g. use plain English and terminology used on the job) A holistic assessment with other units relevant to the pulp and paper industry, mill and job role is recommended Additional information on approaches to assessment for the pulp and paper industry is provided in the Assessment Guidelines for this Training Package |

# Range Statement

| RANGE STATEMENT |  |  |
| --- | --- | --- |
| The range statement relates to the unit of competency as a whole. It allows for different work environments and situations that may affect performance. Bold italicised wording, if used in the performance criteria, is detailed below. Essential operating conditions that may be present with training and assessment (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) may also be included. |  |  |
| Productivity requirements may include: | energy efficiency waste minimisation evaporation minimisation, including landfill and waste water reduction environmentally safe waste disposal consideration of resource utilisation, including fibre efficiency minimising delays chemical recovery maximisation meeting key performance indicators line speed handovers quality checks meeting output targets i.e. net tonnes per employee per annum machine/process time availability i.e. time the machine or process is making product machine/process production rate |
| Equipment may include: | weighbridge computer systems electronic screens and alarms analogue and digital instruments fully automated, semi-automated, manually operated plant and equipment appropriate to receiving waste paper |  |
| Accessories may include: | protective and high visibility safety clothing and equipment electronic communication equipment |  |
| Electronic control systems may include: | Digital Control System (DCS) touch screens robotics |  |
| Legislation, regulatory, licensing and certification requirements may include: | OHS and environmental requirements (local, state and commonwealth) activity or task specific high risk (and non-high risk) load shifting licensing requirements |  |
| Documentation, procedures and reports may include: | SOP quality procedures environmental sustainability requirements/practices plant manufacturing operating manuals oil or chemical spills and disposal guidelines plant isolation documentation safe work documentation e.g. plant clearance, job safety analysis, permit systems weighbridge dockets work orders tally sheets truck delivery dockets invoices non-conformance reports test results and reports log sheets (production or equipment) equipment performance data tonnage input and conversion stock inventory process and instrument diagrams |  |
| Actions may include: | process adjustments reporting to authorised person rectifying problem within level of responsibility |  |
| Situational awareness may include: | awareness of: traffic pedestrians location of equipment product hazards obstruction unexpected movement |  |
| Communications may include | interaction with: internal/external suppliers and customers maintenance services team members operational management |  |
| Sensory information may include: | visual sound feel touch smell vibration temperature |  |
| Forms of communications may include: | written e.g. log books, emails, incident and other reports, run sheets, data entry reading and interpreting documentation e.g. SOP, manuals, checklists, drawings verbal e.g. radio skills, telephone, face to face, handover non-verbal e.g. hand signals, alarms, observations signage e.g. safety, access |  |

# Unit Sector(s)

Not Applicable