# Assessment Requirements for FWPCOT3231 Operate steam boiler

Release: 1

Assessment Requirements for FWPCOT3231 Operate steam boiler

# Modification History

| Release | Comment |
| --- | --- |
|  | Replaces equivalent unit FPICOT3231B Operate steam boiler, which was first released with FPI11 Forest and Forest Products Training Package Version 2.2. This is the first release of this unit in the new standards format. Assessment requirements now specify the performance and knowledge evidence, as well as assessment conditions for this unit of competency. These sections simplify and replace components used in the previous unit format, including ‘Required Skills and Knowledge, Evidence Guide and Range Statement |

# Performance Evidence

A person demonstrating competency in this unit must satisfy all of the elements, performance criteria and foundation skills of this unit.  If a specific volume or frequency is not stated below, then evidence must be provided that the following requirements have been performed on at least one occasion:

follow organisational policies and procedures relevant to operating a steam boiler

start, operate, monitor and shut down a steam boiler in line with statutory requirements and standard operating procedures

prepare boiler for annual inspection

complete operating and maintenance logs

# Knowledge Evidence

A person competent in this unit must be able to demonstrate knowledge of:

environmental protection practices for boiler operations:

cleaning plant, tools and equipment

disposing of hazardous substances

characteristics and dangers of steam

purpose, features and operation of :

steam-generating boilers, including liquid or vapour restricted to water or steam

fuel and fuel supply system

processes for boiler startup, shutdown, cleaning and storage

range of data used to evaluate boiler performance:

steam levels

pressure levels

energy generation levels

heat build-up

system overload information

test outcomes for water quality and chemicals

past performance records

methods used to:

remove valves and fittings

clean boilers internally and externally

safely handle and store boiler house chemicals

organisational procedures specific to operating steam boilers:

workplace health and safety with particular emphasis on equipment lock out and use of personal protective equipment

communication reporting lines

recording and reporting operating logs, fuel efficiency records, equipment faults and maintenance requirements.

# Assessment Conditions

The following resources must be made available:

steam-generating boilers, including liquid or vapour restricted to water or steam

fuel and fuel supply system

boiler house chemicals and labels

personal protective equipment suitable for operating steam boilers

manufacturers’ instructions for use and maintenance of equipment

operational order with specific instructions for required steam generation levels and quantities and operating times

template documents:

operating logs

fuel efficiency records

records of equipment faults and maintenance requirements

organisational procedures for operating steam boilers.

Competency is to be assessed in the workplace or a simulated environment that accurately reflects performance in a real workplace setting.

### Assessor requirements

Assessors must:

hold the appropriate assessor competency standards as outlined in regulations; and

be able to demonstrate vocational competencies at least to the level being assessed; and

be able to demonstrate how they are continuing to develop their VET knowledge and skills as well as maintaining their industry currency and assessor competence.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0d96fe23-5747-4c01-9d6f-3509ff8d3d47