# FWPCOT3232 Operate heat plant

Release: 1

FWPCOT3232 Operate heat plant

# Modification History

| Release | Comment |
| --- | --- |
| 1 | Replaces equivalent unit FPICOT3232B Operate heat plant, which was first released with FPI11 Forest and Forest Products Training Package Version 2.2. This is the first release of this unit in the new standards format. |

# Application

This unit of competency describes the outcomes required to start up, operate and store an energy producing heat plant.

The unit applies to heat plant operators in a timber processing plant setting and includes shutting down and cleaning equipment.

No licensing, legislative, regulatory, or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Sawmilling and Processing

Timber Manufactured Products

Wood Panel and Board Production

# Elements and Performance Criteria

| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the range of conditions. |
| --- | --- |
| 1. Prepare for operation | 1.1 Review operational order and where required check with appropriate personnel. 1.2 Select appropriate personal protective equipment and check for operational effectiveness. 1.3 Identify and set quantity of energy to be generated for allocated process. 1.4 Plan heat generation in line with work order. |
| 2. Operate and monitor heat plant | 2.1 Use equipment in line with organisational safety procedures, manufacturer’s instructions and environmental protection practices. 2.2 Complete pre-operational safety and pre start-up checks to ensure operational effectiveness. 2.3 Start plant and bring safely on line; communicate recent performance to appropriate personnel. 2.4 Assess continued operation of heat plant against pre-operational checks, maintenance requirements and operating conditions. 2.5 Monitor heat plant operation, diagnose status and adjust to maintain safe and efficient operation. 2.6 Follow emergency shutdown procedures in cases of fire. 2.7 Complete operating log, record fuel efficiency and report to appropriate personnel. |
| 3. Shut down and store heat plant | 3.1 Follow organisational safety procedures to shut down equipment. 3.2 Remove or replace valves and fittings in line with organisational safety procedures if required 3.3 Maintain cleanliness of heat plant and plant room in line with environmental protection practices 3.4 Select storage mode and store heat plant in line with organisational safety procedures. 3.5 Record and report and equipment faults and maintenance requirements to appropriate personnel. |

# Foundation Skills

| This section describes those core and employment skills that are essential to performance and are not explicit in the performance criteria. |  |
| --- | --- |
| Numeracy skills to: | read basic numerical machine settings and select according to operational requirements record numerical data involving fuel efficiency. |
| Oral communication skills to: | ask questions and actively listen to clarify contents of operational orders. |
| Reading skills to: | interpret: workplace health and safety and other organisational procedures operational orders manufacturers’ instructions and maintenance recommendations. |
| Writing skills to: | complete accurate basic records for heat plant operations, equipment faults and maintenance requirements. |
| Planning and organising skills to: | efficiently and logically sequence the stages of heat plant start up, shut down and cleaning using work order to guide activities. |

# Range of Conditions

Not Applicable

# Unit Mapping Information

FPICOT3232B Operate heat plant

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0d96fe23-5747-4c01-9d6f-3509ff8d3d47

Assessment Requirements for FWPCOT3232 Operate heat plant

# Modification History

| Release | Comment |
| --- | --- |
| 1 | Replaces equivalent unit FPICOT3232B Operate heat plant, which was first released with FPI11 Forest and Forest Products Training Package Version 2.2. This is the first release of this unit in the new standards format. Assessment requirements now specify the performance and knowledge evidence, as well as assessment conditions for this unit of competency. These sections simplify and replace components used in the previous unit format, including ‘Required Skills and Knowledge, Evidence Guide and Range Statement |

# Performance Evidence

A person demonstrating competency in this unit must satisfy all of the elements, performance criteria and foundation skills of this unit.  If a specific volume or frequency is not stated below, then evidence must be provided that the following requirements have been performed on at least one occasion:

operate a heat plant, in line with operating orders for each period prescribing different energy generation requirements

after the above jobs:

complete operating logs and fuel efficiency records

maintain cleanliness of plant and plant room.

# Knowledge Evidence

A person competent in this unit must be able to demonstrate knowledge of:

environmental protection practices for heat plant operations:

cleaning plant, tools and equipment

disposing of hazardous substances

characteristics and dangers of heat and energy generated by heat plants

purpose, features and operation of energy generating heat plants

processes for heat plant startup, shutdown, cleaning and storage

range of data used to evaluate heat plant performance:

heat levels

pressure levels

energy generation levels

heat build-up

system overload information

monitor fuel usage

past performance records

methods used to:

remove valves and fittings

clean plant and plant room

organisational procedures specific to operating heat plants:

workplace health and safety with particular emphasis on equipment lock out and use of personal protective equipment

communication reporting lines

recording and reporting operating logs, fuel efficiency records, equipment faults and maintenance requirements.

# Assessment Conditions

The following resources must be made available:

energy generating heat plant

personal protective equipment suitable for operating heat plants

manufacturers’ instructions for use and maintenance of equipment

operational order with specific instructions for required heat generation levels and quantities and operating times

template documents:

operating logs

fuel efficiency records

records of equipment faults and maintenance requirements

organisational procedures for operating heat plants.

Competency is to be assessed in the workplace or a simulated environment that accurately reflects performance in a real workplace setting.

#### Assessor requirements

Assessors must:

hold the appropriate assessor competency standards as outlined in regulations; and

be able to demonstrate vocational competencies at least to the level being assessed; and

be able to demonstrate how they are continuing to develop their VET knowledge and skills as well as maintaining their industry currency and assessor competence.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0d96fe23-5747-4c01-9d6f-3509ff8d3d47