# Assessment Requirements for FWPCOT3334 Conduct steam boiler operations

Release: 1

Assessment Requirements for FWPCOT3334 Conduct steam boiler operations

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with FWP Forest and Wood Products Training Package Version 8.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has prepared for, started up, monitored and shut down a steam boiler in a timber or wood products production facility for two production cycles with different specified energy generation requirements.

In performing this task, the individual has:

followed workplace health and safety and environmental protection practices and/or procedures

conducted pre-operational checks on steam boiler

diagnosed and adjusted control settings during operation

identified and rectified boiler operating faults

handled and labelled boiler house chemicals correctly

prepared steam boiler for periodic inspection

completed operational and maintenance reports.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

environmental protection requirements and practices for boiler operations, including:

cleaning plant, tools and equipment

disposing of hazardous substances

characteristics and dangers of steam

purpose, features and operation of:

steam-generating boilers, including liquid or vapour restricted to water or steam

fuel and fuel supply system

energy generation capacity of workplace steam boilers

processes for boiler start-up, shutdown, cleaning and storage

range of data used to evaluate boiler performance, including:

steam levels

pressure levels

energy generation levels

heat build-up

system overload information

test outcomes for water quality and chemicals

past performance records

types, uses and labelling of boiler house chemicals, including safe handling and storage

methods used to:

remove valves and fittings

clean boilers internally and externally

monitor operation and diagnose status of steam boiler

inspect boilers after shutdown

workplace procedures specific to operating steam boilers, including:

boiler inspection and maintenance

health and safety, with particular emphasis on shutdown, equipment lock-out and use of personal protective equipment

communication reporting lines

recording and reporting on operational and fuel efficiency data, equipment faults and maintenance requirements.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

skills must be demonstrated in a timber processing plant, a timber manufacturing plant or an environment that accurately represents workplace conditions

resources, equipment and materials:

steam-generating boiler

fuel and fuel supply system

boiler house chemicals and labels

valves and tools for replacing valves

personal protective equipment suitable for operating steam boilers

specifications:

workplace procedures for steam boiler operations

templates for documenting relevant information on steam boiler operations

manufacturer safety data sheets for chemicals used in steam boiler operations

workplace health and safety and environmental protection policies and/or procedures applicable to boiler operations.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0d96fe23-5747-4c01-9d6f-3509ff8d3d47