# FWPCOT3334 Conduct steam boiler operations

Release: 1

FWPCOT3334 Conduct steam boiler operations

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with FWP Forest and Wood Products Training Package Version 8.0. |

# Application

This unit of competency describes the skills and knowledge required to prepare for, start up, monitor, shut down and store a steam-generating boiler.

The unit applies to individuals who operate steam boilers in a timber or wood products production facility.

All work must be carried out to comply with workplace procedures, according to state/territory health and safety regulations, legislation and standards that apply to the workplace.

This unit should not be used where the boiler equipment falls under the category for which a high risk work licence is required. Users are advised to check with the relevant regulatory authority for appropriate unit and licensing requirements.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Unit Sector

Common Technical (COT)

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare for steam boiler operations | 1.1 Determine job requirements from work order and, where required, check with appropriate personnel 1.2 Confirm workplace health and safety and environmental protection practices and/or procedures and emergency procedures for tasks 1.3 Identify and assess hazards and take actions to mitigate risks related to steam boiler operations 1.4 Select and use appropriate personal protective equipment and check for operational effectiveness 1.5 Identify and set quantity of steam to be generated for allocated process as specified in work order 1.6 Check boiler house chemicals for correct labelling to ensure compliance with safety and regulatory requirements 1.7 Complete pre-operational safety and pre-start-up checks to ensure operational effectiveness of boiler |
| 2. Start up and monitor boiler | 2.1 Start boiler according to workplace procedures 2.2 Assess boiler condition for anomalies during start-up, and rectify or report to relevant personnel according to workplace procedures 2.3 Monitor boiler operation, diagnose status and adjust to maintain safe and efficient operation 2.4 Store and record boiler house chemicals according to workplace safety and environmental protection practices and/or procedures 2.5 Shut down boiler in cases of fire according to emergency procedure 2.6 Record and report boiler operation and fuel efficiency to appropriate personnel |
| 3. Shut down, inspect and store boiler | 3.1 Isolate and shut down boiler according to workplace safety procedures 3.2 Prepare boiler for periodic internal and external inspection according to workplace procedures and manufacturer instructions 3.3 Inspect and test boiler regularly according to workplace boiler inspection and maintenance program 3.4 Remove valves and fittings according to workplace procedures and manufacturer requirements, if required 3.5 Clean boiler externally and internally, as required, according to workplace procedures, environmental protection requirements and manufacturer instructions 3.6 Select storage mode and store boiler according to workplace procedures 3.7 Record and report equipment faults and maintenance requirements to appropriate personnel |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential for performance in this unit of competency but are not explicit in the performance criteria.

| Skill | Description |
| --- | --- |
| Reading | Interpret information from workplace procedures and documents, including Safety Data Sheets and chemical labels |
| Writing | Complete routine records for boiler operations, equipment faults and maintenance requirements |
| Oral communication | Ask questions and actively listen to clarify contents of operational orders |
| Numeracy | Interpret basic numerical machine settings, gauges and data recording equipment Record numerical data involving fuel efficiency Calculate approximate heating requirements and volumes of steam Measure and record chemical usage |

# Unit Mapping Information

| Code and title current version | Code and title previous version | Comments | Equivalence status |
| --- | --- | --- | --- |
| FWPCOT3334 Conduct steam boiler operations | FWPCOT3231 Operate steam boiler | Redesigned unit that includes content from FWPCOT3231 Operate steam boiler and FWPCOT4206 Plan and coordinate boiler operations | Not equivalent |
| FWPCOT3334 Conduct steam boiler operations | FWPCOT4206 Plan and coordinate boiler operations | Redesigned unit that includes content from FWPCOT3231 Operate steam boiler and FWPCOT4206 Plan and coordinate boiler operations | Not equivalent |

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0d96fe23-5747-4c01-9d6f-3509ff8d3d47

Assessment Requirements for FWPCOT3334 Conduct steam boiler operations

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with FWP Forest and Wood Products Training Package Version 8.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has prepared for, started up, monitored and shut down a steam boiler in a timber or wood products production facility for two production cycles with different specified energy generation requirements.

In performing this task, the individual has:

followed workplace health and safety and environmental protection practices and/or procedures

conducted pre-operational checks on steam boiler

diagnosed and adjusted control settings during operation

identified and rectified boiler operating faults

handled and labelled boiler house chemicals correctly

prepared steam boiler for periodic inspection

completed operational and maintenance reports.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

environmental protection requirements and practices for boiler operations, including:

cleaning plant, tools and equipment

disposing of hazardous substances

characteristics and dangers of steam

purpose, features and operation of:

steam-generating boilers, including liquid or vapour restricted to water or steam

fuel and fuel supply system

energy generation capacity of workplace steam boilers

processes for boiler start-up, shutdown, cleaning and storage

range of data used to evaluate boiler performance, including:

steam levels

pressure levels

energy generation levels

heat build-up

system overload information

test outcomes for water quality and chemicals

past performance records

types, uses and labelling of boiler house chemicals, including safe handling and storage

methods used to:

remove valves and fittings

clean boilers internally and externally

monitor operation and diagnose status of steam boiler

inspect boilers after shutdown

workplace procedures specific to operating steam boilers, including:

boiler inspection and maintenance

health and safety, with particular emphasis on shutdown, equipment lock-out and use of personal protective equipment

communication reporting lines

recording and reporting on operational and fuel efficiency data, equipment faults and maintenance requirements.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

skills must be demonstrated in a timber processing plant, a timber manufacturing plant or an environment that accurately represents workplace conditions

resources, equipment and materials:

steam-generating boiler

fuel and fuel supply system

boiler house chemicals and labels

valves and tools for replacing valves

personal protective equipment suitable for operating steam boilers

specifications:

workplace procedures for steam boiler operations

templates for documenting relevant information on steam boiler operations

manufacturer safety data sheets for chemicals used in steam boiler operations

workplace health and safety and environmental protection policies and/or procedures applicable to boiler operations.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0d96fe23-5747-4c01-9d6f-3509ff8d3d47