# Assessment Requirements for FWPCOT4206 Plan and coordinate boiler operations

Release: 1

Assessment Requirements for FWPCOT4206 Plan and coordinate boiler operations

# Modification History

| Release | Comment |
| --- | --- |
| 1 | Replaces equivalent unit FPICOT4206B Plan and coordinate boiler operations, which was first released with FPI11 Forest and Forest Products Training Package Version 2.2. This is the first release of this unit in the new standards format. Assessment requirements now specify the performance and knowledge evidence, as well as assessment conditions for this unit of competency. These sections simplify and replace components used in the previous unit format, including ‘Required Skills and Knowledge, Evidence Guide and Range Statement |

# Performance Evidence

A person demonstrating competency in this unit must satisfy all of the elements, performance criteria and foundation skills of this unit.  If a specific volume or frequency is not stated below, then evidence must be provided that the following requirements have been performed on at least one occasion:

plan and coordinate boiler operations for different operational periods in line with production requirements for each period

determine, document and communicate operational orders and boiler schedules for each of the above operational periods

monitor and assess boiler performance and steam generation levels during each of the above operational periods and modify levels to ensure optimum performance

complete records for operational outcomes for each of the above periods of operation

complete a detailed report about systematic issues arising across the operational periods covering problems with processes, outputs and equipment including recommendations for process improvements.

# Knowledge Evidence

A person competent in this unit must be able to demonstrate knowledge of:

environmental protection practices for boiler operations:

cleaning plant, tools and equipment

disposing of hazardous substances

energy generation capacity of organisational steam generating boilers and methods used to calculate steam and energy generation levels

energy generation capacity of organisational steam generating boilers and methods used to calculate steam and energy generation levels

processes for boiler startup, shutdown and storage

methods of determining boiler schedules to meet production requirements

range of data used to evaluate boiler performance:

steam levels

pressure levels

energy generation levels

heat build-up

system overload information

test outcomes for water quality and chemicals

past performance records

methods used to:

diagnose problems with boiler operations

safely handle and store boiler house chemicals

inspect boilers after shutdown

format, content and use of:

operational orders

boiler schedules

operating logs and operational records

fuel efficiency records

process improvement reports

organisational procedures specific to planning and coordinating boiler operations:

communication reporting lines for operator team members and self

documenting operational orders, boiler schedules and reports

recording and reporting operational outcomes and equipment faults.

# Assessment Conditions

The following resources must be made available:

steam-generating boilers, including liquid or vapour restricted to water or steam

fuel and fuel supply system

boiler house chemicals and labels

personal protective equipment suitable for operating steam boilers

template:

operational orders

boiler schedules

operating logs and operational records

fuel efficiency records

process improvement reports

records for equipment faults

details of production requirements

organisational procedures for planning and coordinating boiler operations.

Competency is to be assessed in the workplace or a simulated environment that accurately reflects performance in a real workplace setting.

### Assessor requirements

Assessors must:

hold the appropriate assessor competency standards as outlined in regulations; and

be able to demonstrate vocational competencies at least to the level being assessed; and

be able to demonstrate how they are continuing to develop their VET knowledge and skills as well as maintaining their industry currency and assessor competence.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0d96fe23-5747-4c01-9d6f-3509ff8d3d47