# Assessment Requirements for FWPCOT4207 Plan and coordinate heat plant operations

Release: 1

Assessment Requirements for FWPCOT4207 Plan and coordinate heat plant operations

# Modification History

| Release | Comment |
| --- | --- |
| 1 | Replaces equivalent unit FPICOT4207B Plan and coordinate heat plant operations which was first released with FPI11 Forest and Forest Products Training Package Version 2.2. This is the first release of this unit in the new standards format. Assessment requirements now specify the performance and knowledge evidence, as well as assessment conditions for this unit of competency. These sections simplify and replace components used in the previous unit format, including ‘Required Skills and Knowledge, Evidence Guide and Range Statement |

# Performance Evidence

A person demonstrating competency in this unit must satisfy all of the elements, performance criteria and foundation skills of this unit.  If a specific volume or frequency is not stated below, then evidence must be provided that the following requirements have been performed on at least one occasion:

plan and coordinate heat plant operations for different operational periods in line with production requirements for each period

determine, document and communicate operational orders and heat plant schedules for each of the above operational periods

monitor and assess heat plant performance and energy generation levels during each of the above operational periods and modify levels to ensure optimum performance

complete records for operational outcomes for each of the above periods of operation

complete a detailed report about systematic issues arising across the operational periods covering problems with processes, outputs and equipment including recommendations for process improvements.

# Knowledge Evidence

A person competent in this unit must be able to demonstrate knowledge of:

environmental protection practices for heat plant operations:

cleaning plant, tools and equipment

disposing of hazardous substances

energy generation capacity of organisational heat plants and methods used to calculate energy generation levels

processes for heat plant startup, shutdown and storage

methods of determining heat plant schedules to meet production requirements

data used to evaluate heat plant performance:

heat levels

pressure levels

energy generation levels

heat build-up

system overload information

test outcomes for water quality and chemicals

past performance records

methods used to:

diagnose problems with heat plant operations

safely handle and store heat plant chemicals

inspect heat plant after shutdown

format, content and use of:

operational orders

heat plant schedules

operating logs and operational records

fuel efficiency records

process improvement reports

organisational procedures specific to planning and coordinating heat plant operations:

communication reporting lines for operator team members and self

documenting operational orders, heat plant schedules and reports

recording and reporting operational outcomes and equipment faults.

# Assessment Conditions

The following resources must be made available:

energy generating heat plant

heat plant chemicals and labels

personal protective equipment suitable for operating heat plants

documents and proformas:

operational orders

heat plant schedules

operating logs and operational records

fuel efficiency records

process improvement reports

records for equipment faults

details of production requirements

organisational procedures for planning and coordinating heat plant operations.

relevant personnel for the purposes of communicating information

Competency is to be assessed in the workplace or a simulated environment that accurately reflects performance in a real workplace setting.

### Assessor requirements

Assessors must:

hold the appropriate assessor competency standards as outlined in regulations; and

be able to demonstrate vocational competencies at least to the level being assessed; and

be able to demonstrate how they are continuing to develop their VET knowledge and skills as well as maintaining their industry currency and assessor competence.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0d96fe23-5747-4c01-9d6f-3509ff8d3d47