# Assessment Requirements for FWPTMM4210 Interpret details of timber floor systems to inform design of plans and production documents

Release: 1

Assessment Requirements for FWPTMM4210 Interpret details of timber floor systems to inform design of plans and production documents

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version released with FWP Forest and Wood Products Training Package Version 6.0. |

# Performance Evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has designed layout plans and developed production and installation documentation using timber system design software for one on ground flooring system and one first floor wide span flooring system project, each:

with a minimum of 100 square metres

including a minimum of one internal load-bearing wall.

# Knowledge Evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

building industry regulations, codes and standards relevant to design of timber floor systems:

National Construction Code (NCC)

risks of non-conforming design:

responsibilities and limits of authority with regard to certifying and non-conforming design

types of timber flooring systems:

I-beams

laminated beams

webbed truss

solid timber sections

composite systems

key features of plans, drawings and specifications:

types and applications of plans and drawings

relating specified information to plans and drawing details

construction terminology

elements that affect timber floor systems design:

types of sub-floor support

spans

live and dead loads

tie down requirements

fire separation/protection

termite protection

appropriate software, including custom software for timber systems design to:

research information

communicate with internal and external clients/stakeholders

input and amend design factors and other data

produce drawings, plans and documents

store and retrieve documents

types, functions, capabilities and limitations of drawing software

application, characteristics and limitations of materials and components used for timber flooring systems

certifying timber floor systems design layouts.

# Assessment Conditions

Assessment of the skills in this unit of competency must take place under the following conditions:

physical conditions:

skills must be demonstrated in a design or manufacturing workplace or an environment that accurately represents workplace conditions

resources, equipment and materials:

computers and software, including timber systems design software

specifications:

access to workplace policies, procedures and processes relevant to designing timber floor systems and providing design advice

access to building regulations, codes and standards relevant to timber floor systems

access to workplace health and safety and environmental policies and procedures applicable to design of timber floor systems.

relationships:

clients/stakeholders to discuss and confirm timber floor systems design.

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volumes, including Implementation Guides, are available at VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0d96fe23-5747-4c01-9d6f-3509ff8d3d47