# Assessment Requirements for HLTANA005 Maintain quality and supply of anaesthetic equipment and consumables

Release: 1

Assessment Requirements for HLTANA005 Maintain quality and supply of anaesthetic equipment and consumables

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in HLT Health Training Package release 2.0 and meets the requirements of the 2012 Standards for Training Packages. Merged HLTAN408/HLTAN506. Significant changes to the elements and performance criteria. New evidence requirements for assessment, including volume and frequency requirements. Significant change to knowledge evidence. |

# Performance Evidence

The candidate must show evidence of the ability to complete tasks outlined in elements and performance criteria of this unit, manage tasks and manage contingencies in the context of the job role. There must be evidence that the candidate has:

followed legislation, industry standards & code of practice, manufacturer’s guidelines and organisation procedures to maintain the standard and supply of anaesthetic equipment and supplies for at least one facility, including:

routine cleaning and care

planned maintenance and servicing

arranging repairs

testing for functionality and safety, including ANZCA level 2 and level 3 check of the anaesthetic machine

provided in service training on at least one piece of equipment

evaluated one piece of equipment

# Knowledge Evidence

The candidate must be able to demonstrate essential knowledge required to effectively complete tasks outlined in elements and performance criteria of this unit, manage tasks and manage contingencies in the context of the work role. This includes knowledge of:

types of anaesthetic equipment and consumables required:

medications, forms and other consumables

anaesthetic airway, breathing, infusion monitoring devices

emergency equipment

non-disposable equipment

areas that require anaesthesia related equipment and consumables:

anaesthetic and emergency trolleys

induction room and/or store rooms

anaesthetic machines

set-up & safety checks, principles & limitation of operation, features/functions and safe use of anaesthetic and monitoring equipment, including their service schedule, storage, disassembly and cleaning requirements, including:

anaesthetic machine and components, including:

alarms and measurement devices

suction and scavenger

ventilator

bulk and local gas supply equipment

vaporisers

breathing systems/circuits and attachments

airway and breathing equipment including:

fibreoptic, video and other intubation aids

consumables

breathing circuits and portable ventilators

invasive and no-invasive monitoring equipment

emergency equipment

thermoregulation equipment

infusion and rapid infusion equipment

tourniquets and exsanguinators

antithromboembolitic

diathermy

routine problems that occur with different types of equipment and how to rectify within own scope

principles of physics and measurement as it relates to anaesthetic practice, including:

thermodynamics

gas laws

fluid dynamics

potentiometry

optics

transducers

vaporisation

ultrasound

basic electronic components and their function

legal and ethical considerations (national, state/territory) for management of equipment and consumables, and how these are applied in organisations:

codes of practice

duty of care

infection prevention and control

records management

rights and responsibilities of workers and employers

work role boundaries – responsibilities and limitations

work health and safety (WHS):

electrical safety requirements for equipment

gas safety

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, modelling of industry operating conditions, including presence of situations requiring problem solving in non-routine situations

Assessors must satisfy the Standards for Registered Training Organisations (RTOs) 2015/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705