# Assessment Requirements for HLTANA006 Assist with clinical procedures used in anaesthesia

Release: 2

Assessment Requirements for HLTANA006 Assist with clinical procedures used in anaesthesia

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in HLT Health Training Package release 2.0 and meets the requirements of the 2012 Standards for Training Packages. Significant changes to the elements and performance criteria. New evidence requirements for assessment, including volume and frequency requirements. Significant change to knowledge evidence. |

# Performance Evidence

The candidate must show evidence of the ability to complete tasks outlined in elements and performance criteria of this unit, manage tasks and manage contingencies in the context of the job role. There must be evidence that the candidate has:

planned, prepared and assisted during induction, maintenance and completion of anaesthesia for each of the following for at least two lists each:

general surgery/gastro-intestinal – major laparotomy & minor surgery

ear, nose and throat surgery

gynaecological surgery - major & minor

obstetric surgery

orthopaedic surgery - major & minor

vascular surgery - major & minor

urological surgery - major & minor

ophthalmic surgery

paediatric – minor ear nose and throat (ENT), general & orthopaedic

remote site anaesthesia – radiology, electroconvulsive therapy (ECT), endoscopy

provided assistance with each of the following procedures on at least 3 occasions, ensuring use of aseptic technique:

spinal

arterial line

central venous catheter

provided assistance with each of the following procedures on at least 2 occasions, ensuring use of aseptic technique:

local

regional blocks including use of ultrasound

upper limb

lower limb

TAP block

epidural/combined spinal-epidural

caudal

peripherally inserted central catheter

midline catheter

transoesophageal echocardiograph (TOE)

blood patch

intercostal drainage

pain management procedures (e.g. chemical sympathectomy)

vascular ‘cut downs’

external pacing

pulmonary artery catheter

balloon pump

intracranial pressure monitoring

12 lead ECG

monitored physiological parameters with reference to standard values of normal physiological function for each client’s usual parameters

# Knowledge Evidence

The candidate must be able to demonstrate essential knowledge required to effectively complete tasks outlined in elements and performance criteria of this unit, manage tasks and manage contingencies in the context of the work role. This includes knowledge of:

legal and ethical considerations (national, state/territory) for clinical procedures, and how these are applied in organisations:

codes of practice

duty of care

infection prevention and control

informed consent

mandatory reporting

privacy, confidentiality and disclosure

records management and clinical documentation

rights and responsibilities of workers, employers and clients

work role boundaries – responsibilities and limitations

work health and safety (WHS)

types of regional and invasive procedures, how they are performed, and the anaesthetic technician’s role, for the following:

spinal

epidural

combined spinal-epidural

caudal

local

regional blocks, including use of ultrasound

upper limb

lower limb

TAP block

blood patch

arterial line

central venous catheter

peripherally inserted central catheter (PICC)

midline catheter

transoesophageal echocardiograph (TOE)

intercostal drainage

pain management procedures

vascular ‘cut downs’

external pacing

pulmonary artery catheter

balloon pump

intracranial pressure monitoring

cell salvage/autotransfusion

12 lead ECG

spinal cord monitoring

types of equipment used for regional and invasive procedures, including function and operating guidelines, use, indications and limitations, and criteria for withdrawal

monitoring of and maintenance of stock levels perioperatively, including CO2 absorber, medications, fluids, consumables

anatomy, physiology factors that impact regional and invasive procedures for different client groups

pre-medications and their effects

•	types of surgery – emergency/urgent/elective/day case

types of common surgical procedures, their classification and factors for planning, preparation and management of anaesthesia, including:

general surgery/gastro-intestinal – major laparotomy & minor

ear, nose and throat surgery

gynaecological surgery - major & minor

obstetric surgery

orthopaedic surgery - major & minor

vascular surgery - major & minor

urological surgery - major & minor

ophthalmic surgery

paediatric – minor ENT, general & orthopaedic

dental/faciomaxillary surgery

cardiothoracic Surgery

neurosurgery

plastic/Reconstructive Surgery

trauma/emergency surgery

remote site anaesthesia - radiology, ECT/endoscopy

indications for surgery and risk factors

surgical approaches and duration of surgery

position of clients for surgery

common anaesthetic and surgical complications

risk of anaesthetic technique for surgical procedure

specialty medications required perioperatively

expected blood loss for different types of surgery

events during surgery that could affect anaesthesia, including:

massive blood loss

client repositioning

cross clamping and unclamping of aorta and other major blood vessels

orthopaedic bone cement syndrome

transurethral resection of the prostate (TURP) syndrome

application/release of tourniquet

tourniquet time

abdominal carbon dioxide insufflation

co-existing diseases and their perioperative medical management

age of the client and associated risks

types of anaesthetic techniques and preference card systems

intraoperative procedures, including:

nasogastric tube placement and suctioning

endotracheal tube suctioning

tracheostomy toileting

rapid infusion, blood transfusion & massive transfusion protocol

fluid balance-urine, gastric, blood loss & infusion

invasive/non-invasive clinical measurements

airway exchange

pain management techniques

invasive/non-invasive clinical measurement planning options

airway management planning options

ancillary equipment choices

pressure and nerve care

normal range of motion for client

thermal management

prevention of thromboembolism

patient emotional and physiological responses to surgery

procedures for transfer of anaesthetised patient to intensive care or radiology and equipment used

communication techniques within multidisciplinary team in operating theatre environment

# Assessment Conditions

Skills must have been demonstrated in the workplace with the addition of simulations and scenarios where the full range of contexts and situations have not been provided in the workplace. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including those required by procedures nominated in the Performance Evidence

modelling of industry operating conditions, including presence of situations requiring problem solving in non-routine situations

Assessors must satisfy the Standards for Registered Training Organisations (RTOs) 2015/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705