# HLTANA010 Assist with airway management

Release: 1

HLTANA010 Assist with airway management

# Modification History

Supersedes and is not equivalent to HLTANA003 Assist with airway management.

# Application

This unit describes the skills and knowledge required to provide assistance to the anaesthetist in airway management during anaesthesia and resuscitation, including difficult and emergency airways.

The unit applies to anaesthetic technicians working under the direction of, and in consultation with, an anaesthetist, in any hospital or day surgery setting.

The skills in this unit must be applied in accordance with Commonwealth and State or Territory legislation, Australian standards and industry codes of practice.

No occupational licensing, certification or specific legislative requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Competency Field

Anaesthetic Technology

# Unit Sector

Health

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Select, check and prepare airway management equipment. | 1.1. Review information about patient and type of surgical procedure and anticipate type and calculate size of airway management equipment. 1.2. Identify and respond to situations where anaesthetist needs to confirm selection. 1.3. Conduct pre-use safety check of selected equipment in accordance with manufacturer guidelines. 1.4. Diagnose airway management equipment faults and rectify within scope of role. 1.5. Prepare and position equipment for use following safe manual handling techniques. |
| 2. Perform bag and mask ventilation. | 2.1. Position patient for bag or mask ventilation. 2.2. Confirm adequate ventilation and rectify any issues under the direction of the anaesthetist. 2.3. Insert oropharyngeal or nasopharyngeal airway if indicated by the anaesthetist. 2.4. In consultation with the anaesthetist determine when to cease bag or mask ventilation. |
| 3. Assist with insertion of supraglottic airway devices. | 3.1. Select, conduct pre-use check and prepare supraglottic airway devices (SAD). 3.2. Anticipate needs of the anaesthetist. 3.3. Assist with positioning of patient. 3.4. Provide assistance during insertion. 3.5. Inflate cuff of SAD in accordance with manufacturer guidelines, clinical indications and anaesthetist’s directions. 3.6 Secure airway into position when directed. |
| 4. Assist with insertion of oral or nasal endotracheal or endobronchial tubes. | 4.1. Select, conduct pre-use check and prepare endotracheal or endobronchial tube and other intubation equipment as required. 4.2. Assist with positioning of patient for intubation. 4.3. Anticipate needs of the anaesthetist. 4.4. Provide assistance with insertion including use of stylet, bougie or laryngeal manipulation external technique. 4.5. Inflate cuff according to industry standard, if applicable. 4.6. Measure cuff pressure. 4.7. When indicated, assist with insertion of throat pack including appropriate documentation of insertion and removal. 4.8. Use a stethoscope to identify breathing sounds, if directed. 4.9. Secure airway into position when directed. |
| 5. Assist with rapid sequence induction. | 5.1. Determine rationale for rapid sequence induction under the direction of the anaesthetist. 5.2. Select, conduct pre-use check and prepare equipment for rapid sequence induction. 5.3. Inform patient of procedures to be completed by the anaesthetic technician. 5.4. Apply cricoid pressure, monitor patient for vomiting and regurgitation, only remove pressure when instructed by the anaesthetist. 5.5. Assist with insertion of endotracheal tube. 5.6. Secure into position if directed. |
| 6. Assist with predicted difficult airway and intubation. | 6.1. Discuss and confirm equipment preparation, intubation plan and contingencies with anaesthetist. 6.2. Select, undertake pre-use safety checks and prepare required equipment. 6.3. Inform patient of tasks to be undertaken by anaesthetic technician. 6.4. Anticipate anaesthetist needs in patient preparation and assist throughout intubation. 6.5. When appropriate, return clean equipment to storage location and send used equipment for processing. 6.6. Debrief with anaesthetic team on outcome of intubation. |
| 7. Assist with connection and disconnection of patient to and from ventilation equipment during maintenance phase. | 7.1. Select and prepare ventilation equipment and materials. 7.2. Set ventilation modes, parameters and ensure warning devices are switched on, tested and are registering that the equipment is safe prior to use with patient under the direction of the anaesthetist. 7.3. Observe equipment whilst in use and take action immediately if fault develops to avoid danger to equipment, patients and staff. 7.4. Follow established procedures to rectify faulty equipment. 7.5. Check patient’s physiological parameters when required or as directed by anaesthetist. 7.6. Identify, validate and report deviations from acceptable limits of physiological parameters to the medical practitioner. 7.7. Report signs of patient discomfort, distress or adverse reaction to the anaesthetist. |
| 8. Assist in management of patient’s airway during emergence phase. | 8.1. Assist anaesthetist with patient positioning to facilitate management of patient’s airway. 8.2. Assist anaesthetist to optimise oxygenation of patient. 8.3. Assist with oral, nasal, endotracheal and SAD suctioning. 8.4. Assist anaesthetist as required during SAD removal or extubation and be prepared for possible reintubation. 8.5. Provide reassurance to the patient and take action to limit injury. 8.6. Observe patient’s condition throughout the procedure and take action when required or at the direction of the anaesthetist. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is not equivalent to HLTANA003 Assist with airway management.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705

Assessment Requirements for HLTANA010 Assist with airway management

# Modification History

Supersedes and is not equivalent to HLTANA003 Assist with airway management.

# Performance Evidence

Evidence of the ability to complete tasks outlined in elements and performance criteria of this unit in the context of the job role, and:

follow established airway management processes and techniques including performing or assisting with at least 10 of each of the following:

pre-oxygenation

bag or mask ventilation

Supraglottic Airway Device (SAD) insertion

oral insertion of endotracheal tubes

airway management during emergence

follow established airway management processes and techniques including performing or assisting with at least three of each of the following:

endobronchial tube insertion

nasal insertion of endotracheal tubes

laser tubes

rapid sequence induction

predicted difficult airway (Awake Fibreoptic Intubation (AFOI))

attaching patients to ventilators

tracheostomy tube if available at the workplace

perform or assist with airway management on different patient types of varied ages, both conscious and unconscious

respond and adapt to airway management problems:

routine

unpredictable

perform the activities outlined in the performance criteria of this unit during a period of at least 360 hours of work related to anaesthetic technology in a clinical workplace environment. These 360 hours may be applied collectively across all units of competency that include the requirement for workplace hours for the purposes of assessment.

# Knowledge Evidence

Demonstrated knowledge required to complete the tasks outlined in elements and performance criteria of this unit:

national, state or territory legal and ethical considerations for airway management, and how these are applied in organisations:

codes of practice

duty of care

infection prevention and control

informed consent

mandatory reporting

privacy, confidentiality and disclosure

records management

rights and responsibilities of workers, employers and patients

work role boundaries including responsibilities and limitations

work health and safety (WHS), manual handling and safe patient positioning techniques

considerations for airway management in different types of surgery, including:

general, regional, local anaesthetic and sedation

remote site including radiology, electroconvulsive therapy (ECT) and endoscopy

general and gastro-intestinal surgery

ear, nose and throat surgery

gynaecological surgery

obstetric surgery

orthopaedic surgery

vascular surgery

urological surgery

oral, dental, and maxillofacial surgery

cardiothoracic surgery

neurosurgery

plastic surgery

trauma or emergency surgery

ophthalmic surgery

airway equipment, including function and operating guidelines, use, indications and limitations, and criteria for withdrawal for:

laryngoscopes blades

fibreoptic bronchoscopes

videoscopes

cricothyrotomy kits

oral and nasal airways

oral endotracheal tubes

laser tubes

nasal endotracheal tubes

tracheostomy tubes

endobronchial tubes and blockers

supraglottic airway devices including 1st and 2nd generation

jet insufflations

intubation adjuncts including bougie, stylet, Magill’s forceps

high flow oxygen including transnasal humidified rapid insufflation ventilatory exchange (THRIVE)

types of suction equipment, its indication for use and hazards associated with usage

airway management procedures, common issues and scope of technician role in:

bag or mask ventilation

supraglottic airway device insertion

insertion of endotracheal tube, orally or nasally and endobronchial tubes

rapid sequence induction

predicted difficult airway

unanticipated difficult airway

airway management during emergence

emergency airway algorithms

gas induction

patient considerations for airway management:

relationship between patient positioning techniques and optimal airway management

pre-medications and their effects on respiration

causes, signs and symptoms of loss of airway

remedial actions to address loss of airway

type of surgery, including shared airway

anatomy, physiology and pathophysiology factors that impact airway management for different patient groups

medical terminology specific to airway management

roles and responsibilities of those participating in the anaesthetic procedure

Australian and New Zealand College of Anaesthetists (ANZCA) Policy Guidelines

Difficult Airway Society Guidelines

laser safety

radiation safety.

# Assessment Conditions

Skills must be demonstrated in the workplace with the addition of simulations and scenarios where the full range of contexts and situations have not been provided in the workplace.

Assessment must ensure access to:

use of suitable facilities, equipment and resources, including:

airway management equipment:

nasal and oral endotracheal tubes

tracheostomy tubes

laryngoscopes, including video, conventional, McCoy and fibreoptic

video or fibreoptic bronchoscopes

endobronchial tubes and endobronchial blockers

other difficult intubation equipment

emergency airway equipment

intubation aids including stylet, bougie and exchange catheter

oropharyngeal and nasopharyngeal airways

Supraglottic airways

anaesthetic circuits

self-inflating bag resuscitator

face masks

connectors

filters

Magill’s forceps

high flow oxygen including Trans nasal humidified rapid insufflation ventilatory exchange (THRIVE)

general medical equipment:

suction equipment for oesophageal and tracheal suction

throat packs

lubricant

scissors

syringes

monitoring equipment:

electrocardiography (ECG)

stethoscope

oxygen and gas analyser, spirometer, airway pressure and carbon dioxide monitor

cuff pressure gauge

pulse oximetry

neuromuscular transmission monitor

entropy

arterial blood gas measurement

personal protective equipment (PPE)

paediatric and adult mannequins for initial simulated assessment

modelling of industry operating conditions, including presence of situations requiring problem solving in non-routine situations.

Assessors must satisfy the Standards for Registered Training Organisations’ requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705