# Assessment Requirements for HLTANA012 Maintain quality and supply of anaesthetic equipment and consumables

Release: 1

Assessment Requirements for HLTANA012 Maintain quality and supply of anaesthetic equipment and consumables

# Modification History

Supersedes and is not equivalent to HLTANA005 Maintain quality and supply of anaesthetic equipment and consumables.

# Performance Evidence

Evidence of the ability to complete tasks outlined in elements and performance criteria of this unit in the context of the job role, and:

follow legislation, industry standards and code of practice, manufacturers’ guidelines and organisational policies and procedures to maintain the standard and supply of anaesthetic equipment and supplies for at least one facility, including:

routine cleaning and care

arranging repairs

testing for functionality and safety, including ANZCA level 2 and level 3 check of the anaesthetic machine

equipment decontamination.

# Knowledge Evidence

Demonstrated knowledge required to complete the tasks outlined in elements and performance criteria of this unit:

national, state or territory legal and ethical considerations for management of equipment and consumables, and how these are applied in organisations:

codes of practice

duty of care

infection prevention and control

records management

rights and responsibilities of workers and employers

work role boundaries including responsibilities and limitations

work health and safety (WHS):

electrical safety requirements for equipment

gas safety

laser safety

radiation safety

types of anaesthetic equipment and consumables required:

medications, forms and other consumables

anaesthetic airway, breathing, infusion monitoring devices

emergency equipment

scavenge systems

non-disposable equipment

operating room air change and pollution standards

areas that require anaesthesia related equipment and consumables:

anaesthetic and emergency trolleys

induction room and storerooms

anaesthetic machines

procedures for set-up and safety checks, principles and limitation of operation, features, functions and safe use of anaesthetic and monitoring equipment, including their service schedule, storage, disassembly and cleaning requirements, including:

anaesthetic machine and components, including:

alarms and measurement devices

suction and scavenge systems

ventilator

bulk and local gas supply equipment including pipeline and cylinders

vaporisers

breathing systems, circuits and attachments

airway and breathing equipment including:

fibreoptic, video and other intubation adjuncts

consumables

breathing circuits and portable ventilators

invasive and non-invasive monitoring equipment

emergency equipment

associated anaesthetic equipment:

thermoregulation equipment

infusion and rapid infusion equipment

anti-thromboembolic device

ultrasound

routine problems that occur with different types of equipment and how to rectify within scope of own role

principles of physics and measurement as it relates to anaesthetic practice, including:

thermodynamics

gas laws

fluid dynamics

potentiometry

optics

transducers

vaporisation

ultrasound

basic electronic components and their function.

# Assessment Conditions

Skills must be demonstrated in the workplace or in a simulated environment that reflects workplace conditions.

Assessment must ensure access to:

use of suitable facilities, equipment and resources, modelling of industry operating conditions, including presence of situations requiring problem solving in non-routine situations.

Assessors must satisfy the Standards for Registered Training Organisations’ requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705