# Assessment Requirements for HLTAUD005 Dispense hearing devices

Release: 1

Assessment Requirements for HLTAUD005 Dispense hearing devices

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in HLT Health Training Package release 2.0 and meets the requirements of the 2012 Standards for Training Packages. Merged HLTAU505/507. Significant changes to the elements and performance criteria. New evidence requirements for assessment, including volume and frequency requirements. Significant change to knowledge evidence. |

# Performance Evidence

The candidate must show evidence of the ability to complete tasks outlined in elements and performance criteria of this unit, manage tasks and manage contingencies in the context of the job role. There must be evidence that the candidate has:

followed established procedures and protocols to independently dispense a diverse range of hearing devices to at least 20 people:

performed real ear measurements including real ear insertion gain (REIG) and speech mapping to accurately analyse acoustic performance against prescriptive targets,

analysed noise reduction, directionality, feedback mechanism and feature performance

modified acoustic features of ear moulds and tubing to achieve real ear prescription targets and or improve listening comfort

varied characteristics of devices to achieve real ear prescription targets or improve listening comfort

assessed subjective comfort, sound clarity and quality, occlusion, feedback, loudness comfort, and take into consideration acclimatisation requirements

used both linear and non-linear prescription techniques

# Knowledge Evidence

The candidate must be able to demonstrate essential knowledge required to effectively complete tasks outlined in elements and performance criteria of this unit, manage tasks and manage contingencies in the context of the work role. This includes knowledge of:

legal and ethical considerations (national and state/territory) for hearing aid dispensing:

duty of care

informed consent

privacy, confidentiality and disclosure

codes of conduct of registering bodies

policy frameworks, Australian Government Office of Hearing Services requirements

work role boundaries, criteria for referral

current range of available hearing devices, their performance features and suitability for different client needs

linear and non-linear amplification systems and the principles of at least one of the recognised prescription techniques for both linear and non-linear hearing devices

electronic features of digitally programmable and digital hearing devices and their effect on the amplification provided, including:

compression ratio

compression threshold/knee point

multi-channel compression

directional and omni-directional microphones

feedback management and cancellation systems

noise suppression systems

wireless/Bluetooth features and devices

other emerging technologies

ear mould acoustics, including venting and tubing, mould materials and its effect on hearing device prescription

how electro-acoustic properties and features interact with each other and the human ear

strategies to resolve problems encountered in hearing device fitting according to industry best practice

broader context knowledge in reference to other devices, including:

cochlear implants

bone anchored devices

other emerging devices

# Assessment Conditions

Skills must be demonstrated in the workplace or in a simulated environment that reflects workplace conditions. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

real ear measurement equipment and software

programming interfaces

manufacturer’s software

Noah or equivalent

suitable fitting environment

repair and modification equipment

modelling of industry operating conditions, including:

integration of problem solving activities

provision of services to general public

Assessors must satisfy the Standards for Registered Training Organisations (RTOs) 2015/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705