# Assessment Requirements for HLTCAR001 Perform electrocardiography (ECG)

Release: 1

Assessment Requirements for HLTCAR001 Perform electrocardiography (ECG)

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in HLT Health Training Package release 2.0 and meets the requirements of the 2012 Standards for Training Packages. Merged HLTCA401/HLTPAT407. Minimal changes to the elements and performance criteria. New evidence requirements for assessment, including volume and frequency requirements. Significant change to knowledge evidence. |

# Performance Evidence

The candidate must show evidence of the ability to complete tasks outlined in elements and performance criteria of this unit, manage tasks and manage contingencies in the context of the job role. There must be evidence that the candidate has:

followed established technical, infection control and safety requirements and produced at least 3 different ECG traces satisfactory for diagnostic purpose

identified and responded appropriately to situations of interference, increased amplitude or wandering baseline

# Knowledge Evidence

The candidate must be able to demonstrate essential knowledge required to effectively complete tasks outlined in elements and performance criteria of this unit, manage tasks and manage contingencies in the context of the work role. This includes knowledge of:

legal and ethical considerations for ECGs, and how these are applied in organisations, including:

children in the workplace

duty of care

informed consent

mandatory reporting

privacy, confidentiality and disclosure

records management

work role boundaries

work health and safety

standard infection control requirements

key features of AS/NZS 3200.1.2:2005 and AS/NZ 3551:2012 or their successors, in relation to ECG equipment,

client factors that affect ECG, including:

physical limitations

respiratory function

features, function and use of ECG equipment, including:

pre-checking and calibration procedures

electrical safety requirements

common problems and how to respond

routine maintenance requirements

sources of interference, including:

client

equipment

environment

quality requirements for ECG tracing

anatomy and physiology of the heart

normal and abnormal ECG rhythms

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

ECG machine and associated leads/electrodes

client furniture

documented procedures for the candidate to follow

modelling of industry operating conditions, including:

interaction with clients

presence of situations requiring problem solving

Assessors must satisfy the Standards for Registered Training Organisations (RTOs) 2015/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705