# Assessment Requirements for HLTCAR003 Assist with stress testing

Release: 1

Assessment Requirements for HLTCAR003 Assist with stress testing

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in HLT Health Training Package release 2.0 and meets the requirements of the 2012 Standards for Training Packages. Minimal changes to the elements and performance criteria. New evidence requirements for assessment, including volume and frequency requirements. Removed prerequisite. |

# Performance Evidence

The candidate must show evidence of the ability to complete tasks outlined in elements and performance criteria of this unit, manage tasks and manage contingencies in the context of the job role. There must be evidence that the candidate has:

followed medical officer instructions, established procedures, safety requirements and infection control guidelines and produced at least 3 different diagnostic stress test results from 3 different people

# Knowledge Evidence

The candidate must be able to demonstrate essential knowledge required to effectively complete tasks outlined in elements and performance criteria of this unit, manage tasks and manage contingencies in the context of the work role. This includes knowledge of:

legal and ethical considerations for stress testing, and how these are applied in organisations, including:

children in the workplace

duty of care

informed consent

mandatory reporting

privacy, confidentiality and disclosure

records management

work role boundaries (and limitations)

work health and safety

standard infection control requirements

client factors that affect stress testing, including:

physical limitations

respiratory function

features, function and use of holter monitor equipment, including:

pre-checking procedures

electrical safety requirements

common problems and how to respond

routine maintenance requirements

sources of interference:

client

equipment

quality requirements for a stress test

anatomy and physiology relevant for performance of stress testing and interpretation:

basic pharmacology related to cardiac function

recognition of life threatening cardiac rhythm abnormalities

complications and contraindications for clients undergoing stress testing

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

stress testing equipment

documented procedures for the candidate to follow

modelling of industry operating conditions, including:

interaction with clients

presence of situations requiring problem solving

Assessors must satisfy the Standards for Registered Training Organisations (RTOs) 2015/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705