# HLTDEN002 Assist with dental radiography

Release: 1

HLTDEN002 Assist with dental radiography

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in HLT Health Training Package release 3.0 and meets the requirements of the 2012 Standards for Training Packages. Minimal changes to the elements and performance criteria. New evidence requirements for assessment including volume and frequency requirements. Removal of pre-requisites Supersedes HLTDA304D |

# Application

This unit of competency describes the skills and knowledge required for a dental assistant to prepare patients for dental radiography. It also describes the skills and knowledge to process and mount conventional dental radiographs.

This unit applies to dental assisting work.

The skills in this unit must be applied in accordance with Commonwealth and State/Territory legislation, Australian/New Zealand Standards and industry codes of practice.

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements define the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare for dental radiography | 1.1 Position the patient comfortably 1.2 Reassure the patient and explain the procedure in language that is easily understood 1.3 Ask the patient to remove items that may interfere with the radiographic examination, and offer appropriate explanation 1.4 Ensure patient, other members of the dental team and the public are protected from ionising radiations 1.5 Assist the operator in the implementation of safe work practices to minimise radiation risks to workers and to patients during procedure 1.6 Select and prepare the correct radiographic film or image receptors and relevant holders for the radiographic examination, and make it available to the operator |
| 2. Prepare equipment and materials for dental radiography | 2.1 Maintain clean and dry working surfaces 2.2 Clean and maintain processing equipment in good working order 2.3 Maintain processing solutions at the correct strength and temperature 2.4 Record accurately the date of preparation of solutions 2.5 Arrange for servicing of instruments and equipment in line with manufacturers’ instructions and Radiation Health Committee national policies, codes and standards 2.6 File equipment service records in a location within the surgery that can be readily accessed 2.7 Prepare program to receive image, correctly orientate and label radiograph and enter patient data |
| 3. Process and mount dental radiographs | 3.1 Protect processing facility and equipment against accidental intrusion of light 3.2 Wear personal protective equipment 3.3 Handle radiographic film packages or image receptors carefully so that their quality is maintained 3.4 Carry out processing stages in the correct sequence and for the appropriate duration in accordance with manufacturers’ specifications 3.5 Identify common faults caused by incorrect processing and notify operator if these occur 3.6 Rectify processing faults in accordance with operator’s instructions 3.7 Notify the operator of any processing faults that cannot be rectified prior to further radiographs being processed 3.8 Label, date and file the radiograph mounting accurately and legibly 3.9 Mount and secure radiographs in correct anatomical position for viewing |
| 4. Maintain stock of unexposed radiographic film and chemicals | 4.1 Store radiographic film, image receptors and chemicals in accordance with manufacturers’ specifications 4.2 Maintain sufficient stock 4.3 Rotate film stock so that film is used before its expiry date |
| 5. Assure the quality of dental radiographic processing | 5.1 Participate effectively in radiographic quality assurance programs 5.2 Monitor processing solutions for deterioration 5.3 Notify the operator when radiographs do not meet the quality criteria of the reference radiograph produced under optimum conditions 5.4 Collect and record all unacceptable radiographs that do not meet diagnostic standards due to processing error, and identify how processing can be improved 5.5 Dispose of waste chemicals safely in accordance with manufacturers’ specifications and legislative requirements 5.6 Maintain and clean the imaging plate scanner according to organisation procedures |

# Foundation Skills

The Foundation Skills describe those required skills (language, literacy, numeracy and employment skills) that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

No Equivalent Unit

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705