# Assessment Requirements for HLTDEN016 Assist with dental radiography

Release: 2

Assessment Requirements for HLTDEN016 Assist with dental radiography

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | Release 2 HLTDEN016 Assist with dental radiography supersedes and is equivalent to Release 1 HLTDEN016 Assist with dental radiography. Updated: Mapping details and minor corrections. |
| Release 1 | HLTDEN016 Assist with dental radiography supersedes and is not equivalent to HLTDEN002 Assist with dental radiography. |

# Performance Evidence

Evidence of the ability to complete tasks outlined in elements and performance criteria of this unit in the context of the job role, and:

prepare for 3 dental radiographic imaging procedures.

consistently apply safe work practices during above dental radiography work including:

positioning self and assist with positioning other people in a safe location during radiographic exposures

correctly handling and storing of radiographic image receptors

correctly process, mount and file radiographic films or digital images on at least 3 occasions, including:

applying the correct processing procedure

handling image receptors carefully

attaching accurate, legible and complete records

# Knowledge Evidence

Demonstrated knowledge required to complete the tasks outlined in elements and performance criteria of this unit:

national and State or Territory legal and ethical requirements and considerations for dental assisting work and how these are applied in organisations and in individual practice including:

codes of practice and safety guides:

radiation protection in dentistry

duty of care

informed consent and statutory requirements of consent

current Dental Board of Australia (DBA) and Australian Health Practitioner Regulation Agency (AHPRA) guidelines and practice standards

privacy, confidentiality and disclosure

radiation user licence

rights and responsibilities of workers, employers and patients

work role boundaries including responsibilities and limitations

work health and safety

equipment and materials used for dental radiography and the correct procedures for use including:

equipment for automatic processing

equipment for manual processing

equipment for digital radiography

reasons for rotating film stock and using film before its expiry date

reasons for storing films away from ionising radiation

safe methods of storage and disposal of processing solutions

the nature and purpose of processing solutions

equipment required for a range of dental radiographic image exposures, including:

intraoral radiographs including bitewing, periapical and occlusal images

intraoral receptor sizes and use

extraoral radiographs including orthopantomogram (OPG)

production and biological effects of ionising radiation:

biological risks associated with X-rays

hazards associated with X-rays including the mechanisms by which X-rays cause damage to human tissues

nature and uses of X-rays

production of X-rays

equipment and processes required to process digital radiographic images, including:

digital receptor types

phosphor plate scanners

computing facilities and software

maintenance requirements

common handling errors

equipment and processes required to process film based radiographic images, including:

chemical processing solutions

manual film processing

automatic film processing

quality requirements for film processing

common film processing errors and causes

requirements for handling, storing and disposing of chemicals and radiographic film

process for orientating radiographic images including:

fundamental knowledge of dental anatomy

methods of mounting radiographs

role of radiographs in dentistry including:

benefits and risks of dental radiography

use of radiographs in diagnosing and monitoring dental disease

code of practice for radiation protection in dentistry including:

methods for monitoring the adequacy of radiation protection

procedures for minimising radiation risks to patients, self, the oral healthcare team and the public

the organisation’s quality assurance policy for processing radiographs to consistent diagnostic quality

the purpose of quality assuring dental radiographs and its relationship to radiation protection

Environment Protection Authority (EPA) compliance requirements for radiographic equipment.

# Assessment Conditions

Skills must be demonstrated in a dental clinic workplace with the addition of simulations and scenarios where the full range of contexts and situations cannot be provided in the workplace.

Assessment must ensure:

access to suitable facilities, equipment and resources including:

barrier protection equipment and materials

dental chair and unit

radiographic machine

practitioner and assistant protective equipment

radiographic image receptors

current Dental Board of Australia (DBA) and Australian Health Practitioner Regulation Agency (AHPRA) guidelines and practice standards

modelling of industry operating conditions including access to people for simulations and scenarios in dental assisting work

Assessors must satisfy the Standards for Registered Training Organisations’ requirements for assessors and hold a minimum of five years clinical dental experience.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705