# Assessment Requirements for HLTDEN022 Prepare to expose a prescribed dental radiographic image

Release: 2

Assessment Requirements for HLTDEN022 Prepare to expose a prescribed dental radiographic image

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | Release 2 HLTDEN022 Prepare to expose a prescribed dental radiographic image supersedes and is equivalent to Release 1 HLTDEN022 Prepare to expose a prescribed dental radiographic image. Updated: Mapping details and minor corrections. |
| Release 1 | HLTDEN022 Prepare to expose a prescribed dental radiographic image supersedes and is equivalent to HLTDEN008 Prepare to expose a prescribed dental radiographic image. |

# Performance Evidence

Evidence of the ability to complete tasks outlined in elements and performance criteria of this unit in the context of the job role, and:

correctly interpret at least three different dental radiographic requests and prepare for procedure including:

confirming patient identity and consent

selecting correct radiographic imaging equipment using relevant technical variables for the requested radiographic procedure

using procedures to minimise the risk of radiation to the patient, the practitioner and others.

# Knowledge Evidence

Demonstrated knowledge required to complete the tasks outlined in elements and performance criteria of this unit:

features, characteristics and movements of a range of dental radiographic equipment associated with intraoral and extraoral units

national and State or Territory legal and ethical requirements and considerations for dental assisting work and how these are applied in organisations and in individual practice including:

codes of practice and safety guides:

radiation protection in dentistry

safe use of radiation

duty of care

informed consent and statutory requirements of consent

practice standards including dental guidelines privacy, confidentiality and disclosure

radiation user licence

records management

work role boundaries including responsibilities and limitations

work health and safety

radiographic appearance of anatomic landmarks, normal dentition and associated bony structures for dental radiograph images

radiographic appearance of dental anomalies and common oral pathological conditions

range of dental radiographic imaging techniques and the reasons for selection of each technique

reasons for inaccuracies in radiographs and techniques for minimising errors.

# Assessment Conditions

Skills must be demonstrated in a dental clinic workplace with the addition of simulations and scenarios where the full range of contexts and situations cannot be provided in the workplace.

Assessment must ensure:

access to suitable facilities, equipment and resources including:

barrier protection materials

dental chair and unit

X-ray unit

practitioner and assistant protective equipment

radiographs or sensors

codes of practice and safety guides for radiation use

modelling of industry operating conditions including access to people for simulations and scenarios in dental assisting work.

Assessment must involve demonstration of tasks under verbal or written prescription from a dental practitioner.

Assessors must satisfy the Standards for Registered Training Organisations’ requirements for assessors, hold a minimum of five years clinical dental experience and a current radiation user licence.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705