# HLTDEN022 Prepare to expose a prescribed dental radiographic image

Release: 2

HLTDEN022 Prepare to expose a prescribed dental radiographic image

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | Release 2 HLTDEN022 Prepare to expose a prescribed dental radiographic image supersedes and is equivalent to Release 1 HLTDEN022 Prepare to expose a prescribed dental radiographic image. Updated: Mapping details and minor corrections. |
| Release 1 | HLTDEN022 Prepare to expose a prescribed dental radiographic image supersedes and is equivalent to HLTDEN008 Prepare to expose a prescribed dental radiographic image. |

# Application

This unit of competency describes the performance outcomes, skills and knowledge required to interpret a prescribed request for a dental radiographic image. It also includes the preparation of the patient for dental radiography and the selection of equipment requirements.

This unit applies to dental assisting work under the instruction and supervision of the dental practitioner.

The skills in this unit must be applied in accordance with Commonwealth and State/Territory legislation, Australian standards and industry codes of practice.

No occupational licensing, certification or specific legislative requirements apply to this unit at the time of publication.

Dental radiography work must only be performed by a person with a radiation user licence granted by the relevant State/Territory regulatory authority under legislation.

# Pre-requisite Unit

Nil

# Competency Field

Dental Assisting

# Unit Sector

Dental

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Interpret the request for the prescribed dental radiographic image. | 1.1. Interpret image request accurately using appropriate dental terminology. 1.2. Determine situations where more information is required and ask the prescribing practitioner for clarification. 1.3. Select and use appropriate exposure variables in accordance with manufacturers’ instructions and patient requirements. |
| 2. Assess and determine the procedure prior to exposing a dental radiographic image. | 2.1. Confirm patient identity and match to the request. 2.2. Determine the patient’s ability to comply with instructions. 2.3. Review modifications to the standard procedure with the practitioner prior to implementation. 2.4. Explain the procedure and necessary requirements clearly to the patient before commencement. 2.5. Obtain and document consent from the patient or carer. 2.6. Prepare patient prior to producing a dental radiographic image. |
| 3. Select and prepare dental radiographic imaging equipment and accessories. | 3.1. Identify patient requirements and select correct dental radiographic imaging equipment for the procedure. 3.2. Select and use correct accessories for dental radiographic imaging. 3.3. Select relevant technical variables of the dental radiographic imaging equipment. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

HLTDEN022 Prepare to expose a prescribed dental radiographic image supersedes and is equivalent to HLTDEN008 Prepare to expose a prescribed dental radiographic image.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705

Assessment Requirements for HLTDEN022 Prepare to expose a prescribed dental radiographic image

# Modification History

| Release | Comments |
| --- | --- |
| Release 2 | Release 2 HLTDEN022 Prepare to expose a prescribed dental radiographic image supersedes and is equivalent to Release 1 HLTDEN022 Prepare to expose a prescribed dental radiographic image. Updated: Mapping details and minor corrections. |
| Release 1 | HLTDEN022 Prepare to expose a prescribed dental radiographic image supersedes and is equivalent to HLTDEN008 Prepare to expose a prescribed dental radiographic image. |

# Performance Evidence

Evidence of the ability to complete tasks outlined in elements and performance criteria of this unit in the context of the job role, and:

correctly interpret at least three different dental radiographic requests and prepare for procedure including:

confirming patient identity and consent

selecting correct radiographic imaging equipment using relevant technical variables for the requested radiographic procedure

using procedures to minimise the risk of radiation to the patient, the practitioner and others.

# Knowledge Evidence

Demonstrated knowledge required to complete the tasks outlined in elements and performance criteria of this unit:

features, characteristics and movements of a range of dental radiographic equipment associated with intraoral and extraoral units

national and State or Territory legal and ethical requirements and considerations for dental assisting work and how these are applied in organisations and in individual practice including:

codes of practice and safety guides:

radiation protection in dentistry

safe use of radiation

duty of care

informed consent and statutory requirements of consent

practice standards including dental guidelines privacy, confidentiality and disclosure

radiation user licence

records management

work role boundaries including responsibilities and limitations

work health and safety

radiographic appearance of anatomic landmarks, normal dentition and associated bony structures for dental radiograph images

radiographic appearance of dental anomalies and common oral pathological conditions

range of dental radiographic imaging techniques and the reasons for selection of each technique

reasons for inaccuracies in radiographs and techniques for minimising errors.

# Assessment Conditions

Skills must be demonstrated in a dental clinic workplace with the addition of simulations and scenarios where the full range of contexts and situations cannot be provided in the workplace.

Assessment must ensure:

access to suitable facilities, equipment and resources including:

barrier protection materials

dental chair and unit

X-ray unit

practitioner and assistant protective equipment

radiographs or sensors

codes of practice and safety guides for radiation use

modelling of industry operating conditions including access to people for simulations and scenarios in dental assisting work.

Assessment must involve demonstration of tasks under verbal or written prescription from a dental practitioner.

Assessors must satisfy the Standards for Registered Training Organisations’ requirements for assessors, hold a minimum of five years clinical dental experience and a current radiation user licence.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705