# HLTDET004 Articulate models and transfer records

Release: 1

HLTDET004 Articulate models and transfer records

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in HLT Health Training Package release 3.0 and meets the requirements of the 2012 Standards for Training Packages. Minimal changes to the elements and performance criteria. New evidence requirements for assessment including volume and frequency requirements. Removal of pre-requisites Supersedes HLTDT304D |

# Application

This unit of competency describes the skills and knowledge required to transfer oral records and mount models on an articulator.

This unit applies to work in dental technology.

The skills in this unit must be applied in accordance with Commonwealth and State/Territory legislation, Australian/New Zealand Standards and industry codes of practice.

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements define the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Select and prepare the articulator | 1.1 Apply standard precautions when receiving, handling and working on dental materials 1.2 Decontaminate occlusal registration rims according to infection control guidelines 1.3 Confirm requirements of work order 1.4 Select and adjust articulator in accordance with work order 1.5 Ensure all adjustable settings of the articulator are set to their neutral or zero settings 1.6 Identify the mounting method to be used |
| 2. Select and prepare materials | 2.1 Position models and oral records in articulator for a range of prosthetic appliances 2.2 Prepare mounting materials and apply to models 2.3 Establish and secure centric records 2.4 Remove excess material and smooth to produce a neat finish 2.5 Clean equipment |
| 3. Transfer oral records to articulator | 3.1 Transpose records as provided 3.2 Record midline 3.3 Set and record vertical height 3.4 Set the condylar angles to the work order given |

# Foundation Skills

The Foundation Skills describe those required skills (language, literacy, numeracy and employment skills) that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

No Equivalent Unit

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705