# HLTHPS004 Measure spirometry

Release: 1

HLTHPS004 Measure spirometry

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in HLT Health Training Package release 2.0 and meets the requirements of the 2012 Standards for Training Packages. Significant changes to the elements and performance criteria. New evidence requirements for assessment, including volume and frequency requirements. Significant change to knowledge evidence. |

# Application

This unit describes the skills and knowledge required to prepare a client for spirometry, complete the spirometry test and to provide a report as an aid to the diagnosis and management of ventilatory impairment.

This unit applies to any health worker who takes spirometry measurements. Spirometry measurement is commonly conducted in hospitals, respiratory physicians rooms, general practitioner (GP) rooms, pharmacies and pathology collection centres.

The skills in this unit must be applied in accordance with Commonwealth and State/Territory legislation, Australian/New Zealand standards and industry codes of practice.

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements define the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element |
| 1. Prepare spirometer and materials for use | 1.1 Check cleanliness and functionality of spirometer and other materials 1.2 Validate or calibrate spirometer in accordance with manufacturer specifications |
| 2. Prepare client for procedure | 2.1 Greet client courteously and identify self 2.2 Identify client following organisation and regulatory procedures 2.3 Obtain, read, and accurately record client information, in accordance with organisation policies and procedures 2.4 Identify and responds to contraindications for performing spirometry within scope of own job role 2.5 Obtain clarifications from requesting health professional when necessary 2.6 Take accurate client measurements, consider other inputs and calculate reference values from established value sets 2.7 Seat client correctly for procedure |
| 3. Perform spirometry | 3.1 Initialise equipment to commence recording and record additional information 3.2 Coach client through procedure with the provision of continuous instruction, encouragement and reassurance 3.3 Observe client throughout the procedure for ability to continue 3.4 Identify recording as technically correct 3.5 Provide client with feedback on performance 3.6 Repeat spirometry as necessary to comply with current standards for repeatability 3.7 Make technically acceptable measurements according to current standards 3.8 Select indices for report in accordance with current standards 3.9 Identify the need for administration of a bronchodilator in accordance with current standards and medical officer request 3.10 Allow sufficient time for peak effect from bronchodilator and repeat spirometry 3.11 Identify and respond to clinical emergencies in accordance with organisation emergency procedures |
| 4. Complete spirometry measurement | 4.1 Assist client as required on completion of procedure 4.2 Review follow up arrangements with client 4.3 Respond appropriately to client’s questions 4.4 Dispose of or clean materials in accordance with organisation policies and procedures, and infection control guidelines 4.5 Clean, restock and store equipment according to manufacturer’s guidelines 4.6 Complete report to technically acceptable standards, provide a provisional interpretation of results and forward to physician for final interpretation 4.7 Forward report and interpretation to requesting medical officer 4.8 Enter details of client and test completed on to database and/or hospital information system |

# Foundation Skills

The Foundation Skills describe those required skills (language, literacy, numeracy and employment skills) that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

No equivalent unit.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705