# HLTHSS008 Perform routine servicing of plant, equipment and machinery

Release: 1

HLTHSS008 Perform routine servicing of plant, equipment and machinery

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in HLT Health Training Package release 3.0 and meets the requirements of the 2012 Standards for Training Packages. Significant changes to the elements and performance criteria. New evidence requirements for assessment, including volume and frequency requirements. Significant change to knowledge evidence. Supersedes HLTGM201D |

# Application

This unit describes the skills and knowledge required to regularly service plant, equipment and machinery in accordance with maintenance schedules.

This unit applies to workers with well-developed skills where some discretion and judgement is required. Individuals will take responsibility for their own outputs within clearly defined guidelines and may participate in supervised work teams.

The skills in this unit must be applied in accordance with Commonwealth and State/Territory legislation, Australian/New Zealand standards and industry codes of practice.

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements define the essential outcomes. | Performance criteria specify the level of performance needed to demonstrate achievement of the element. |
| 1. Carry out routine assessment of plant, equipment and machinery | 1.1 Identify service requirements of plant, equipment and machinery according to organisation requirements and manufacturers’ guidelines 1.2 Identify potential repair and replacement requirements of plant, equipment and machinery according to organisation requirements and manufacturer guidelines |
| 2. Prepare for routine servicing and/or minor repairs | 2.1 Identify and use required personal protective equipment 2.2 Prepare tools, equipment, parts and materials required to undertake the task 2.3 Read maintenance manuals and documented servicing routines to determine requirements 2.4 Prepare the area required to undertake the task |
| 3. Perform routine servicing and minor repairs | 3.1 Service and/or repair plant, equipment and machinery according to maintenance manuals, manufacturer guidelines, enterprise procedures and workplace health and safety (WHS) practices 3.2 Inform appropriate person/s upon completion of the task and complete the maintenance record 3.3 Advise appropriate person/s of faults and major repair and replacement requirements |

# Foundation Skills

The Foundation Skills describe those required skills (language, literacy, numeracy and employment skills) that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

No equivalent unit

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705