# Assessment Requirements for HLTHSS012 Handle medical gases safely

Release: 1

Assessment Requirements for HLTHSS012 Handle medical gases safely

# Modification History

Not applicable.

# Performance Evidence

Evidence of the ability to complete tasks outlined in elements and performance criteria of this unit in the context of the job role, and:

prepare, handle and store medical gas cylinders and equipment in accordance with organisational procedures on three separate occasions in the workplace or simulation and should include:

preparation and inspections of a:

cylinder

flowmeter

regulator

wall outlets

fitting auxiliary equipment including:

flowmeters

hose assemblies

identify at least two critical hazards associated with medical gas and outline risk management plans or organisational procedures for reporting and control of the hazard in the workplace or simulated environment.

# Knowledge Evidence

Demonstrate knowledge required to complete the tasks outlined in elements and performance criteria of this unit:

relevant industry standards and legislation for storage and handling of gases in cylinders

organisational procedures and policies relating to:

training an authorisation of personnel

storage and handling of gases in cylinders

reporting faults or damage to cylinders

security of storage areas

wearing of personal protective equipment

potential risks and hazards to gas equipment use and associated precautions and workplace health and safety (WHS) requirements

manufacturer instructions

emergency response procedures

transportation requirements and equipment

principles and purpose of medical gas components including:

cylinders:

different gases and colour coding

cylinder valves and ‘pin index locating system’

combinations such as cylinder and reg built in system

correct storage and restraint

stock management

regulators:

preparation and inspections of:

regulator

seals

yoke and pin indexes

safety requirements regarding:

fitting of regulator to cylinder valve

flowmeters:

preparation and inspections of:

seals

handwheel and sleeve index systems

safety requirements regarding:

fitting flowmeter to regulator

turning on cylinder and testing Flowmeter

multi flow regulators and regulator and flowmeter combination

preparation and inspections of:

flow regulator

seals preparation and inspections

yoke and pin Indexes

safety requirements regarding:

fitting regulator to cylinder valve

turning on cylinder and testing device

wall outlets:

preparation and inspections of:

auxiliary equipment including flowmeters and hose assemblies

seals

safety requirements regarding:

fitting auxiliary equipment including flowmeters and hose assemblies.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment as specified in the performance evidence.

Assessment must ensure access to:

use of suitable facilities, equipment and resources that reflect real working conditions and model industry operating conditions and contingencies

manufacturer instructions

medical gas equipment

emergency and personal protective equipment (PPE)

work sheets

a trained and authorised supervisor.

Assessors must satisfy the Standards for Registered Training Organisations (RTOs) requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705