# HLTHSS012 Handle medical gases safely

Release: 1

HLTHSS012 Handle medical gases safely

# Modification History

Not applicable.

# Application

This unit describes the skills and knowledge to handle medical gas equipment in a safe manner to workplace requirements within the health care environment.

This unit applies to a variety of health or community service roles involving handling medical gases. At this level workers perform under supervision and generally within a team environment within predetermined guidelines.

The skills in this unit must be applied in accordance with workplace requirements, Commonwealth and State or Territory legislation, Australian standards and industry codes of practice.

No occupational licensing, certification or specific legislative requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Competency Field

Health Support Services

# Unit Sector

Health

# Elements and Performance Criteria

| ELEMENTS | PERFORMANCE CRITERIA |
| --- | --- |
| Elements describe the essential outcomes | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare for handling and storage of medical gas and equipment. | 1.1. Select equipment and handling requirements in accordance organisational procedures. 1.2. Set up work areas to ensure safe, effective and efficient handling of equipment. 1.3. Inspect equipment for cleanliness or damage of all components. 1.4. Identify potential hazards to work and manage risks in accordance organisational procedures. 1.5. Report and document identified hazards and risks. 1.6. Wear personal protective equipment and fit in accordance organisational procedures and manufacturer specifications. 1.7. Fit and test bottles and regulators in accordance with manufacturers requirements. |
| 2. Handle medical gas equipment. | 2.1. Use recommended precautions when handling medical gas equipment. 2.2. Ensure only trained and authorised personnel are involved in handling medical gas equipment. 2.3. Handle medical gas cylinders and related equipment with care and position in accordance with legislative requirements and manufacturer instructions. 2.4. Select trolley size and type and restrain cylinders for transport. 2.5. Select regulators for use with cylinder. 2.6. Close valves prior to transport. 2.7. Close cylinder valves and release regulator pressure after use. 2.8. Monitor gas pipeline and manifold systems. 2.9. Replace empty bottles and banks as soon as exhausted. 2.10. Open cylinder valves on manifold banks in accordance with and organisational procedures and manufacturer guidelines. |
| 3. Store medical gas cylinders and equipment. | 3.1. Store all cylinders and equipment in storage locations in accordance with organisational procedures, legislative requirements and manufacturer recommendations. 3.2. Store cylinders away from combustible materials. 3.3. Use cylinder stock on a rotational system and keep full and empty cylinders separate. 3.4. Ensure cylinders are protected from cold and heat. 3.5. Close and secure storage area in accordance with organisational procedures. 3.6. Ensure signage is clearly displayed outside medical gas storage area. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to HLTHSS007 Handle medical gases safely.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705

Assessment Requirements for HLTHSS012 Handle medical gases safely

# Modification History

Not applicable.

# Performance Evidence

Evidence of the ability to complete tasks outlined in elements and performance criteria of this unit in the context of the job role, and:

prepare, handle and store medical gas cylinders and equipment in accordance with organisational procedures on three separate occasions in the workplace or simulation and should include:

preparation and inspections of a:

cylinder

flowmeter

regulator

wall outlets

fitting auxiliary equipment including:

flowmeters

hose assemblies

identify at least two critical hazards associated with medical gas and outline risk management plans or organisational procedures for reporting and control of the hazard in the workplace or simulated environment.

# Knowledge Evidence

Demonstrate knowledge required to complete the tasks outlined in elements and performance criteria of this unit:

relevant industry standards and legislation for storage and handling of gases in cylinders

organisational procedures and policies relating to:

training an authorisation of personnel

storage and handling of gases in cylinders

reporting faults or damage to cylinders

security of storage areas

wearing of personal protective equipment

potential risks and hazards to gas equipment use and associated precautions and workplace health and safety (WHS) requirements

manufacturer instructions

emergency response procedures

transportation requirements and equipment

principles and purpose of medical gas components including:

cylinders:

different gases and colour coding

cylinder valves and ‘pin index locating system’

combinations such as cylinder and reg built in system

correct storage and restraint

stock management

regulators:

preparation and inspections of:

regulator

seals

yoke and pin indexes

safety requirements regarding:

fitting of regulator to cylinder valve

flowmeters:

preparation and inspections of:

seals

handwheel and sleeve index systems

safety requirements regarding:

fitting flowmeter to regulator

turning on cylinder and testing Flowmeter

multi flow regulators and regulator and flowmeter combination

preparation and inspections of:

flow regulator

seals preparation and inspections

yoke and pin Indexes

safety requirements regarding:

fitting regulator to cylinder valve

turning on cylinder and testing device

wall outlets:

preparation and inspections of:

auxiliary equipment including flowmeters and hose assemblies

seals

safety requirements regarding:

fitting auxiliary equipment including flowmeters and hose assemblies.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment as specified in the performance evidence.

Assessment must ensure access to:

use of suitable facilities, equipment and resources that reflect real working conditions and model industry operating conditions and contingencies

manufacturer instructions

medical gas equipment

emergency and personal protective equipment (PPE)

work sheets

a trained and authorised supervisor.

Assessors must satisfy the Standards for Registered Training Organisations (RTOs) requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705