# Assessment Requirements for HLTOTH002 Modify casts

Release: 1

Assessment Requirements for HLTOTH002 Modify casts

# Modification History

No equivalent unit.

# Performance Evidence

Evidence of the ability to complete tasks outlined in elements and performance criteria of this unit in the context of the job role, and:

modify one of each of the following casts:

split cast

bi-valve cast

cut windows

trim casts

re-pad casts

reinforce casts

heel wedges

wedging a cast

converting including completion and addition.

The modification of each of the above must include:

interpreting referrals, sourcing information, liaising with the healthcare team and following instructions within the healthcare setting

reviewing, treating, advising and referring clients:

paediatrics

adults

selecting, using and maintaining equipment:

arm, knee and buttock block

benders and cast breakers

cast bracing equipment

eye protection equipment

goniometer

hearing protection

plaster trap

saw with vacuum

scissors

shears

spreaders

tape measure

vice

selecting and using materials:

abduction bars

bandages

cast shoes

dry dressing

felts, foams and padding

hinges

plaster

quadrilateral bucket

stockinettes

strapping

synthetic materials including fibreglass

tapes

undercast padding

selecting and using aids:

ambulation aides

gait aides

heel

overshoes

sling

documenting clinical records.

# Knowledge Evidence

Demonstrated knowledge required to complete the tasks outlined in elements and performance criteria of this unit:

procedures relevant to cast modification:

client confidentiality and privacy

client consent

duty of care

infection control

inventory

work health and safety

role and responsibilities and boundaries of responsibilities relevant to cast modification

anatomy and physiology relevant to cast modification

methods for interpreting radiological findings and features of x-rays, CT scans and MRI scans relating to casts and the presenting condition

conditions for referral of clients for immediate review by a medical practitioner:

evidence of infection

Deep Vein Thrombosis (DVT)

Complex Regional Pain Syndrome (CRPS)

intense localised pain

neurovascular status outside normal limits

wound breakdown and deterioration

individual client needs:

developmental stage including paediatrics and adults

in clients and out clients

functional requirements and restrictions

mobilisation difficulties and restrictions

level of anxiety

physical anomalies

religious and cultural beliefs

environment and climate

pathology and assessment of client conditions:

allergies

mechanism of injury

interference

non-union fracture

oedematous extremity

wires, pins, external fixatures and surgical wounds

medical history and co-morbidities

skin condition including oedema, blisters, pressure areas, broken skin, fragile skin and wound breakdown

precaution types, characteristics and resolution:

loss of fracture position

loss of soft tissue position

pressure area prevention due to modification

complication types, characteristics and resolution:

pressure areas including tissue necrosis

foreign objects in casts

splints

cast breakdown

cast migration due to loss of tissue bulk

compromising related injury

fracture blisters

loss of movement and function

malalignment of bone

neurovascular complications including poor capillary refill and altered sensation

nerve damage

infection

reduced range of movement and function of joint

secondary infection

wound breakdown

purpose of cast modification

cast modification techniques:

anatomical positioning

protective cover for broken skin with aseptic technique

split cast

bi-valve cast

cut windows

trim casts

re-pad casts

reinforce casts

heel wedges

converting including completion and addition

cast material purpose, selection and safe use:

abduction bars

bandages

cast shoes

dry dressing

felts, foams and padding

hinges

plaster

quadrilateral bucket

stockinettes

strapping

synthetic materials including fibreglass

tapes

undercast padding

cast modification equipment purpose, selection, safe use and maintenance:

arm, knee and buttock block

benders and cast breakers

eye protection equipment

goniometer

hearing protection

plaster trap

saw with vacuum

scissors

shears

spreaders

tape measure

vice

aid purpose, selection and safe use:

ambulation aides

gait aides

heel

overshoes

sling

medications relevant to cast modification and future care

types of client advice:

cast care and warnings

limb care and neurovascular warnings

mobilisation exercises and routines

oedema control

fitness to drive

weight bearing status

safe use of gait aides

clinical record requirements

medical terminology relevant to cast modification.

# Assessment Conditions

Skills must be demonstrated in a real workplace with real patients in a clinical environment with the addition of simulations and scenarios with real people where the full range of contexts and situations cannot be provided in the workplace.

Where simulation is used, it must reflect real working conditions in a clinical environment by modelling industry operating conditions and contingencies, as well as using suitable facilities, equipment and resources.

Assessment must ensure use of:

procedures relevant to cast modification

clients listed in the Performance Evidence

equipment listed in the Performance Evidence

materials listed in the Performance Evidence

aids listed in the Performance Evidence

personal protective equipment (PPE)

manufacturer’s instructions for all equipment and materials.

Assessors must satisfy the Standards for Registered Training Organisations’ requirements for assessors; and have current clinical experience working as an Orthopaedic Technologist or Technician providing services to the general public.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705