# Assessment Requirements for HLTOTH005 Modify orthopaedic devices

Release: 1

Assessment Requirements for HLTOTH005 Modify orthopaedic devices

# Modification History

No equivalent unit.

# Performance Evidence

Evidence of the ability to complete tasks outlined in elements and performance criteria of this unit in the context of the job role, and:

modify one of each of the following orthopaedic devices:

Ankle Foot Orthosis (AFO)

Bed Resting Ankle Foot Orthosis (BRAFO)

cam walker

collar and cuff

gunslinger brace

hinged knee and hinged elbow braces

humeral brace

joint supports for elbow, wrist, knee, ankle

pelvic binder

shoulder abduction sling

shoulder immobilisers

zimmer splint

soft neck collar

cam boots.

The modification of each of the above must include:

interpreting referrals, sourcing information, liaising with the healthcare team and following instructions within the healthcare setting

reviewing, treating, advising and referring clients:

paediatrics

adults

modification techniques:

addition

completion

converting

give more or less range of movement

reinforcing and strengthening

relining

repadding

tightening

trimming

re-aligning

selecting, using and maintaining equipment:

allen key

bender

bracing and splinting equipment

eye protection equipment

goniometer

heat gun

saw with vacuum

scissors

screwdriver

shears

spanners

spreaders

tape measure

vice

selecting and using materials:

bandages

dry dressings

felt, foam and padding

hinges

off the shelf braces and splints

reinforcement bars

synthetic materials

tape and strapping

selecting and using aids:

ambulation aides

gait aides

heel

overshoes

sling

documenting clinical records.

# Knowledge Evidence

Demonstrated knowledge required to complete the tasks outlined in elements and performance criteria of this unit:

procedures relevant to orthopaedic device modification:

client confidentiality and privacy

client consent

duty of care

infection control

inventory

work health and safety

role and responsibilities and boundaries of responsibilities relevant to orthopaedic device modification

anatomy and physiology relevant to orthopaedic device modification

methods for interpreting radiological findings and features of x-rays, CT scans and MRI scans relating to orthopaedic devices and the presenting condition

conditions for referral of clients for immediate review by a medical practitioner:

evidence of infection

intense localised pain

neurovascular status outside normal limits

wound breakdown and deterioration

individual client needs:

developmental stage including paediatrics and adults

in clients and out clients

functional requirements and restrictions

mobilisation difficulties and restrictions

level of anxiety

physical anomalies

religious and cultural beliefs

environment and climate

orthopaedic device type and purpose:

collar and cuff

hinged knee and hinged elbow braces

humeral brace

joint supports for elbow, wrist, knee, ankle

shoulder abduction sling

shoulder immobilisers

soft neck collar

zimmer splint

pathology and assessment of client conditions:

allergies

mechanism of injury

interference

non-union fracture

oedematous extremity

wires, pins, external fixatures and surgical wounds

medical history and co-morbidities

skin condition including oedema, blisters, pressure areas, broken skin, fragile skin and wound breakdown

precaution types, characteristics and resolution:

areas of broken skin

fragile skin

complication types, characteristics and resolution:

compromising related injury

fracture blisters

loss of movement and function

malalignment of bone

neurovascular complications including altered sensation and poor capillary refill

orthopaedic device migration due to loss of tissue bulk

pressure areas

secondary infection

wound breakdown

orthopaedic device modification techniques:

anatomical positioning

protective cover for broken skin with aseptic technique

addition

completion

converting

give more or less range of movement

reinforcing and strengthening

relining

repadding

tightening

trimming

re-aligning

orthopaedic device equipment purpose, selection, safe use and maintenance:

allen key

bender

bracing and splinting equipment

eye protection equipment

goniometer

heat gun

saw with vacuum

scissors

screwdriver

shears

spanners

spreaders

tape measure

vice

orthopaedic device material purpose, selection and safe use:

bandages

dry dressings

felt, foam and padding

hinges

off the shelf braces and splints

reinforcement bars

synthetic materials

tape and strapping

aid purpose, selection and safe use:

ambulation aides

gait aides

heel

overshoes

sling

medications relevant to orthopaedic device modification and future care

types of client advice:

care of orthopaedic devices and warnings

limb care and neurovascular warnings

mobilisation exercises and routines

oedema control

fitness to drive

weight bearing status

safe use of aides

clinical record requirements

medical terminology relevant to orthopaedic device modification.

# Assessment Conditions

Skills must be demonstrated in a real workplace with real patients in a clinical environment with the addition of simulations and scenarios with real people where the full range of contexts and situations cannot be provided in the workplace.

Where simulation is used, it must reflect real working conditions in a clinical environment by modelling industry operating conditions and contingencies, as well as using suitable facilities, equipment and resources.

Assessment must ensure use of:

procedures relevant to orthopaedic device modification

clients listed in the Performance Evidence

orthopaedic devices listed in the Performance Evidence

equipment listed in the Performance Evidence

materials listed in the Performance Evidence

aids listed in the Performance Evidence

personal protective equipment (PPE)

manufacturer’s instructions for all equipment and materials.

Assessors must satisfy the Standards for Registered Training Organisations’ requirements for assessors; and have current clinical experience working as an Orthopaedic Technologist or Technician providing services to the general public.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705