# Assessment Requirements for HLTPOP001 Provide basic repairs and maintenance to health hardware and fixtures

Release: 1

Assessment Requirements for HLTPOP001 Provide basic repairs and maintenance to health hardware and fixtures

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in HLT Health Training Package release 3.0 and meets the requirements of the 2012 Standards for Training Packages. Merged HLTPOP213C/HLTPOP214D. Significant changes to the elements and performance criteria. New evidence requirements for assessment, including volume and frequency requirements. Significant change to knowledge evidence. |

# Performance Evidence

The candidate must show evidence of the ability to complete tasks outlined in the elements and performance criteria of this unit, manage tasks and manage contingencies in the context of the job role. There must be evidence that the candidate has:

identified at least 2 potential health risks or problems associated with health hardware and fixtures:

developing and implementing a work plan that includes strategies to deal with each issue

identifying and communicating with stakeholders throughout the process

carried out at least 2 repair and/or maintenance tasks on health hardware and/or fixtures

# Knowledge Evidence

The candidate must be able to demonstrate essential knowledge required to effectively complete tasks outlined in the elements and performance criteria of this unit, manage tasks and manage contingencies in the context of the work role. This includes knowledge of:

legal and organisation requirements relating to repair and maintenance work, including:

organisation standards, policies and procedures, including:

infection control

manual handling

personal protective equipment

immunisation requirements and/or recommendations

scope of own role and responsibilities

approvals required and process of obtaining approvals

referral agencies and their roles and responsibilities

common faults, risks and problems associated with health hardware and fixtures and how to identify

correct selection and use of tools, equipment and materials to be used for repairs and other tasks required

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

WHS procedures

personal protective equipment

organisation and manufacture guidelines and procedures

maintenance requests

suitable work area, equipment and materials

hand and power tools appropriate to the maintenance tasks

modelling of industry operating conditions

Assessors must satisfy the Standards for Registered Training Organisations (RTOs) 2015/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705