# Assessment Requirements for HLTPOP003 Monitor and maintain water supply

Release: 1

Assessment Requirements for HLTPOP003 Monitor and maintain water supply

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in HLT Health Training Package release 3.0 and meets the requirements of the 2012 Standards for Training Packages. Minor changes to the elements and performance criteria. New evidence requirements for assessment, including volume and frequency requirements. Minor changes to knowledge evidence. Supersedes HLTPOP218D |

# Performance Evidence

The candidate must show evidence of the ability to complete tasks outlined in the elements and performance criteria of this unit, manage tasks and manage contingencies in the context of the job role. There must be evidence that the candidate has:

identified at least 2 potential health risks, faults or problems associated with household plumbing design and fixtures and developed and implemented a work plan that includes strategies to deal with each issue.

# Knowledge Evidence

The candidate must be able to demonstrate essential knowledge required to effectively complete tasks outlined in elements and performance criteria of this unit, manage tasks and manage contingencies in the context of the work role. This includes knowledge of:

legal and organisation requirements relating to water supply work, including:

organisation standards, policies and procedures, including:

infection control

manual handling

personal protective equipment

immunisation requirements and/or recommendations

scope of own role and responsibilities

approvals required and process of obtaining approvals

referral agencies and procedures

water and sewerage plans for the community where available

various sources of water, including:

bore water

surface water

spring water

rock catchments

soaks

dams

rain water tanks

how water is accessed in the community

household plumbing design and fixtures and the way in which water supply enters the house or building along internal plumbing and pipes to taps and appliances

how to monitor water supply and common water supply contaminants

signs, causes and prevention of water contamination

common faults, risks and problems associated with household plumbing and water supply systems and how to identify them.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

workplace health and safety (WHS) procedures

personal protective equipment

organisation guidelines and  procedures

suitable work area, equipment and materials

modelling of industry operating conditions.

Assessors must satisfy the Standards for Registered Training Organisations (RTOs) 2015/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705