# HLTPOP003 Monitor and maintain water supply

Release: 1

HLTPOP003 Monitor and maintain water supply

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in HLT Health Training Package release 3.0 and meets the requirements of the 2012 Standards for Training Packages. Minor changes to the elements and performance criteria. New evidence requirements for assessment, including volume and frequency requirements. Minor changes to knowledge evidence. Supersedes HLTPOP218D |

# Application

This unit describes the skills and knowledge required to identify the basic way in which water supply systems function and the strategies needed to maintain water supply systems in the community.

This unit applies to work in a public health context and workers at this level will work under supervision within defined guidelines.

Plumbing work must only be performed by a person authorised by registration or licence granted by the relevant State or Territory regulatory authority under legislation.

The skills in this unit must be applied in accordance with Commonwealth and State/Territory legislation, Australian/New Zealand standards and industry codes of practice.

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements define the essential outcomes. | Performance criteria specify the level of performance needed to demonstrate achievement of the element. |
| 1. Identify potential problems and faults with water supply systems in the community | 1.1 Identify components of the water supply system in the community 1.2 Check for signs of contamination and identify potential problems that can occur with water supply systems and household plumbing and fixtures |
| 2. Monitor and maintain the water supply system | 2.1 Identify strategies required to prevent the transmission of disease through the water supply 2.2 Develop and implement a work plan in conjunction with supervisor 2.3 Report any difficulties or problems to supervisor in accordance with organisational policies and procedures 2.4 Refer any problems or difficulties that are outside own area of responsibility or expertise to relevant people or agencies |

# Foundation Skills

The Foundation Skills describe those required skills (language, literacy, numeracy and employment skills) that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

No equivalent unit

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705