# HLTPOP012 Contribute to testing of results of community water supply

Release: 1

HLTPOP012 Contribute to testing of results of community water supply

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in HLT Health Training Package release 3.0 and meets the requirements of the 2012 Standards for Training Packages. Title change. Minor changes to the elements and performance criteria. New evidence requirements for assessment, including volume and frequency requirements. Minor changes to knowledge evidence. Supersedes HLTPOP319C |

# Application

This unit describes the skills and knowledge required to assess the quality of the water supply source in the community and implement measures to address issues of concern, if necessary.

This unit applies to work in a public health context and workers at this level will work under supervision and within defined guidelines.

The skills in this unit must be applied in accordance with Commonwealth and State/Territory legislation, Australian/New Zealand standards and industry codes of practice.

# Elements and Performance Criteria

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| Elements define the essential outcomes. | Performance criteria specify the level of performance needed to demonstrate achievement of the element. |
| 1. Determine processes used to monitor water quality in the community | 1.1 Identify the responsibilities of key people and outside agencies for monitoring the quality and safety of water supply to the community 1.2 Discuss and confirm processes used by key people and outside agencies to sample and treat water supply in the community and/or outstations 1.3 Discuss and confirm own role and responsibilities in relation to the processes used with supervisor, key people and outside agencies |
| 2. Monitor and maintain water quality in the community | 2.1 Assist relevant others with monitoring and maintaining the quality and safety of water supply to the community and identifying potential nearby contaminants 2.2 Report findings to supervisor in accordance with organisation policy and procedure 2.3 Discuss follow-up measures with supervisor, key people and outside agencies to determine the most appropriate options to address any issues of concern |
| 3. Implement follow-up procedures | 3.1 Implement follow-up measures in accordance with established procedures and job role 3.2 Monitor and evaluate follow-up measures to determine the success of methods being used |
| 4. Provide feedback and advice | 4.1 Document evaluation of follow-up measures in accordance with organisation policy and procedure 4.2 Provide feedback to supervisor, key people and outside agencies 4.3 Provide advice on alternative or additional strategies to maintain water quality |

# Foundation Skills

The Foundation Skills describe those required skills (language, literacy, numeracy and employment skills) that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

No equivalent unit

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=ced1390f-48d9-4ab0-bd50-b015e5485705